## Wire down events
| Identifying Information |  |  | Location Information | [5 empty] | Utility facility information | [6 empty] | Situational awareness information | [5 empty] | Year
ID | Type of event | Date | Time | Latitude | Longitude | Circuit name | Land use (rural / urban) | Enhanced inspections and maintenance conducted according to 2019 WMP at location prior to event (Yes / No) | Enhanced vegetation management conducted according to 2019 WMP at location prior to event (Yes / No) | Type of equipment involved | Facility identification | Voltage | Age of involved equipment | Overhead or underground | Covered conductor or other | Other companies' equipment involved (or N/A) | Local temperature at time of event | Local wind speed at time of event | Nearest weather station by weather station ID | Last inspection data of involved equipment | Time-to-expected failure of involved equipment on date of incident (in number of days until the involved equipment was expected to fail) | Over capacity history of involved equipment (percent of time equipment operated over nameplate capacity)
593 | Wire down | 2015-12-11 | 1:45 |  |  | 3300 | urban | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2015
597 | Wire down | 2015-12-29 | 15:03 |  |  | 1261 | rural | No | Yes | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2015
605 | Wire down | 2016-01-01 | 12:00:00 |  |  | 7300 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
631 | Wire down | 2016-03-07 | 09:40:00 |  |  | 32 | rural | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
637 | Wire down | 2016-03-22 | 02:42:00 |  |  | 7300 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
701 | Wire down | 2016-10-14 | 02:30:00 |  |  | 3400 | urban | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
716 | Wire down | 2016-10-14 | 02:48:00 |  |  | 7300 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
702 | Wire down | 2016-10-16 | 10:00:00 |  |  | 3400 | urban | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
709 | Wire down | 2016-10-16 | 23:12:00 |  |  | 3200 | urban | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
726 | Wire down | 2016-11-19 | 16:31:00 |  |  | 1261 | rural | No | Yes | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2016
728 | Wire down | 2016-11-23 | 10:07:00 |  |  | 7202 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
747 | Wire down | 2016-12-10 | 07:53:00 |  |  | 3400 | urban | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2016
1025 | Wire down | 2017-03-05 | 00:56:00 |  |  | 7201 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2017
1037 | Wire down | 2017-04-12 | 15:40 |  |  | 1296 | rural | No | Yes | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2017
1056 | Wire down | 2017-05-19 | 20:35 |  |  | 7202 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2017
17591 | Wire down | 2017-11-30 | 9:38 |  |  | 3400 | urban | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2017
18286 | Wire down | 2018-03-10 | 20:17 |  |  | 7400 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2018
18331 | Wire down | 2018-03-15 | 15:45 |  |  | 3501 | urban | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2018
18432 | Wire down | 2018-03-22 | 11:43 |  |  | 7700 | rural | No | No | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2018
20143 | Wire down | 2018-09-12 | 8:16 |  |  | 3200 | urban | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2018
21378 | Wire down | 2019-01-17 | 4:14 |  |  | 7100 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2019
21718 | Wire down | 2019-02-05 | 7:48 |  |  | 1296 | rural | No | No | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2019
22062 | Wire down | 2019-02-14 | 22:53 |  |  | 1296 | rural | No | No | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2019
22993 | Wire down | 2019-03-15 | 7:24 |  |  | 1261 | rural | No | Yes | Conductor |  | 12.47kV |  | Overhead | Other | N/A | [6 empty] | 2019
24785 | Wire down | 2019-12-05 | 21:55 |  |  | 5201 | rural | No | Yes | Conductor |  | 14.4kV |  | Overhead | Other | N/A | [6 empty] | 2019