## Table 1
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
1 Recent wildfire mitigation performance and underlying data
1.1 Recent performance on progress metrics, last 5 years
Report performance on the following metrics within the utility’s service territory over the past five years. Where the utility does not collect its own data on a given metric, the utility shall work with the relevant state agencies to collect the relevant information for its service territory, and clearly identify the owner and dataset used to provide the response in the “Comments” column.
Table 1: Recent performance on progress metrics, last 5 years
Report performance on the following metrics within the utility’s service territory over the past five years. Where the utility does not collect its own data on a given metric, the utility shall work with the relevant state agencies to collect the relevant information for its service territory, and clearly identify the owner and dataset used to provide the response in the “Comments” column.
Annual performance
| # | Progress metric name | 2015 | 2016 | 2017 | 2018 | 2019 | Unit(s) | Comments
| 1 | Extreme weather prediction accuracy | N/A | N/A | N/A | N/A | 0% | Percentage of total PSPS predictions that are false positives (where the utility’s situational awareness indicates that the upcoming risk level will exceed the threshold for PSPS, but it eventually does not do so) or false negatives (where the utility’s situational awareness indicates that the upcoming risk level will not exceed the threshold for PSPS, but it eventually does do so) 2 days before a potential PSPS event | Did not have PSPS predicition methodology in place until 2019. 2019 saw zero PSPS events and zero instances of forecasted exceedance of PSPS thresholds.
| 2 | Equipment operating load above nameplate capacity | 2 | 0 | 0 | 5 | 0 | Number of circuit hours operated above nameplate capacity in HFTD areas | All overload scenarios occured outside of fire season during winter.
|  |  | 1% | N/A | N/A | 2% | N/A | Average % above nameplate capacity when equipment operated above nameplate capacity in HFTD areas
| 3 | Risk-spend efficiency of resources deployed towards wildfire mitigation efforts | [5 empty] | Dollars per incremental life saved | Liberty CalPeco does not track this information at this time
Dollars invested per estimated dollars of rebuilt structures avoided
Dollars per customer hour of PSPS avoided
| 4 | Extent of hardening across grid | unknown | unknown | unknown | unknown | 36.53% | Percent of all grid assets in HFTD areas using proven and demonstrated wildfire-resistant equipment | Estimate for percent of all grid assets in HFTD areas using proven and demonstarated wildfire resistant equipment. Using Cal fire exempt and non-exempt harware guide. All UG equipment assumed to be exempt. All data from GIS. No ability to track historically.
| 5 | Community engagement activity and effectiveness | unknown | unknown | unknown | unknown | unkown | Percent of residents made aware of PSPS and emergency response procedures in advance of events, according to post-event surveys | Liberty CalPeco had one PSPS event in 2018 and there was no post-event survey performed.
|  |  | 0.2 | 2.5 | 0.3 | 0.6 | 0.4 | Percent of residents agreeing to participate in utility wildfire risk-reduction activities (e.g., allowing access to property for utility hazard tree remediation) | Percentage of refusals compared to all private property locations where hazard tree remediation was performed
| 6 | Emergency planning and preparedness | 0 | 0 | 0 | 0 | 0 | Number of emergency response deficiencies reported by Cal OES, suppression agencies, and other emergency response personnel when plans tested or activated

## Table 2
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
1 Recent wildfire mitigation performance and underlying data
1.2 Recent performance on outcome metrics, annual and normalized for weather, last 5 years
Table 2: Recent performance on outcome metrics, last 5 years
Annual performance
Metric type | # | Outcome metric name | 2015 | 2016 | 2017 | 2018 | 2019 | Unit(s) | Comments
1. Risk spend efficiency of WMP programs | 1.a. | Average risk spend efficiency of all WMP programs being undertaken by utility | [5 empty] | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas | Liberty CalPeco does not track this information at this time
| 1.b. | Average risk spend efficiency of wildfire-only WMP programs being undertaken by utility | [5 empty] | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas | Liberty CalPeco does not track this information at this time
2. Customer hours of PSPS based on stress test conditions | 2.a. | Percent of customers experiencing PSPS given 95th percentile fire weather conditions along entire grid using utility PSPS decision protocols | 0% | 0% | 0% | 0% | 0% | Percent of all customers | 99th percentile fire weather conditions did not materialize during Liberty CalPeco's 2018 PSPS event
| 2.b. | Percent of customers experiencing PSPS given 99th percentile fire weather conditions along entire grid using utility PSPS decision protocols | 0% | 0% | 0% | 0% | 0% | Percent of all customers | 99th percentile fire weather conditions did not materialize during Liberty CalPeco's 2018 PSPS event
3. Electricity cost to ratepayers | 3.a. | Increase in electric costs to ratepayer due to wildfires (total) | 0 | 293092.08 | 20203.17 | 0 | 0 | Dollar value rates increase attributable to wildfires per year | Total capital attributable to wildfires
| 3.b. | Increase in electric costs to ratepayer due to wildfires (normalized) | - | - | - | - | - | Dollar value rates increase attributable to wildfires per RFW circuit mile per year | above line divided by RFW circuit mile
| 3.c. | Increase in electric costs to ratepayer due to wildfire mitigation activities (total) | - | - | - | - | - | Dollar value rates increase attributable to WMPs per year
4. Actual renewable energy procurement | 4.a. | Electricity procured from renewable sources | 22% | 25% | 25% | 27% | 25% | Percentage of total electricity procured per year
5. Impact of utility ignitions based on ignition simulation | 5.a. | Potential impact of ignitions (total) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition per year, based on in-house or contractors’ fire spread models | Liberty CalPeco does not track this information at this time
| 5.b. | Potential impact of ignitions (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
| 5.c. | Potential impact of ignitions in HFTD (subtotal) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per year | Liberty CalPeco does not track this information at this time
| 5.c.i. | Potential impact of ignitions in HFTD Zone 1 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per year | Liberty CalPeco does not track this information at this time
| 5.c.ii. | Potential impact of ignitions in HFTD Tier 2 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per year | Liberty CalPeco does not track this information at this time
| 5.c.iii. | Potential impact of ignitions in HFTD Tier 3 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per year | Liberty CalPeco does not track this information at this time
| 5.d. | Potential impact of ignitions in HFTD (subtotal, normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
| 5.d.i. | Potential impact of ignitions in HFTD Zone 1 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
| 5.d.ii. | Potential impact of ignitions in HFTD Tier 2 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
| 5.d.iii. | Potential impact of ignitions in HFTD Tier 3 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
| 5.e. | Potential impact of ignitions in non-HFTD (subtotal) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per year | Liberty CalPeco does not track this information at this time
| 5.f. | Potential impact of ignitions in non-HFTD (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per RFW circuit mile day per year | Liberty CalPeco does not track this information at this time
6. Public impacted by utility-ignited wildfire evacuation | 6.a. | Number of people residing in evacuation zone of utility-ignited wildfire (total) | [5 empty] | Number of people in evacuation zones of utility ignited wildfire | Unable to calculate, number of people within evacuation zones (assuming there was one) cannot be reasonably estimated due to varying, tourist driven population of service territory
| 6.b. | Number of people residing in evacuation zone of utility-ignited wildfire (normalized) | [5 empty] | Number of people per RFW circuit mile day per year
| 6.c. | Impact of evacuations for utility-ignited wildfire (total) | [5 empty] | Person-hours per year
| 6.d. | Impact of evacuations for utility-ignited wildfire (normalized) | [5 empty] | Person-hours per RFW circuit mile day per year
7. Estimated GHG emissions from utility- ignited wildfire | 7.a. | GHG emissions from utility- ignited wildfires (total) | - | 10190 | - | - | - | Estimated tons of carbon dioxide equivalent emitted per year | tons of emitted CO2 is from 2016 emerald fire, all other igntion events were insignificant. See attached "Attachment 5 Table 02 Row 7.xlsx" for supporting data. See attached "2020-01-29 Reax Liberty WMP data requests.docx" for narrative and methodology of response.
| 7.b. | GHG emissions from utility- ignited wildfires (normalized) | - | 24.0228 | - | - | - | Estimated tons of carbon dioxide equivalent emitted per RFW circuit mile day per year
8. Transportation impacted by PSPS | 8.a. | Critical transportation infrastructure impacted due to PSPS | 0 | 0 | 0 | 0 | 0 | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per year
| 8.b. | Major roads impacted due to PSPS (normalized) | 0 | 0 | 0 | 0 | 0 | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per RFW circuit mile day per year

## Table 3
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
1 Recent wildfire mitigation performance and underlying data
1.3 Detailed information supporting outcome metrics
INSTRUCTIONS
Enclose detailed information as requested for the metrics above. For utility-ignited wildfires over each of the past 5 years, report annual totals for the number of days an evacuation order was in effect in the utility’s service territory, the number of people residing in evacuation zones, and the reported actual evacuation numbers of people evacuated during the period of evacuation.
Table 3: Annual evacuations for utility-ignited wildfire, last 5 years
| Year | Total days evacuation order in effect | Number of people residing in evacuation zones | Evacuation actuals (total number of people)
| 2015 |  |  | Unable to calculate, number of people within evacuation zones (assuming there was one) cannot be reasonably estimated due to varying, tourist driven population of service territory
2016
2017
2018
2019

## Table 5
|  | Service Territory Location | [6 empty] | Fire weather | [17 empty] | Number and impact of PSPS de-energizations | [29 empty] | Recent overcapacity | [11 empty] | Extreme weather near circuit
|  |  | Number of Red Flag Warning Line Mile Days | [5 empty] | Number of Red Flag Warning Line Mile Days | [5 empty] | Average annual proprietary fire potential index | [5 empty] | Highest proprietary fire potential index of the year | [5 empty] | Number of PSPS de-energizations | [5 empty] | Number of customers located on de-energized circuit | [5 empty] | Number of affected customers on other circuits | [5 empty] | Customer hours of PSPS | [5 empty] | Customer hours of PSPS per RFW circuit day | [5 empty] | Hours operated above nameplate capacity | [5 empty] | Average load as a percent of nameplate capacity | [5 empty] | 95th percentile wind conditions (average of all weather stations within 10 miles of a circuit) | [5 empty] | 99th percentile wind conditions
Circuit ID | line miles |  | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average
BROCKWAY 4201 | 7.4 | HFTD Tier 2 | 2.1951 | 0.30721 | 0.88196 | 2.4577 | 0.6186 | 1.2921 | 16.244 | 2.2733 | 6.5265 | 18.1867 | 4.5777 | 9.5616 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
BROCKWAY 4202 | 32.8 | HFTD Tier 2 | 2.6829 | 0.37547 | 1.0779 | 3.0038 | 0.75606 | 1.5792 | 87.9993 | 12.3154 | 35.3564 | 98.5233 | 24.7988 | 51.7986 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
BROCKWAY 5100 | 2.2 | HFTD Tier 2 | 2.486 | 0.34792 | 0.99884 | 2.7833 | 0.70058 | 1.4633 | 5.4692 | 0.76542 | 2.1974 | 6.1233 | 1.5413 | 3.2193 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
BROCKWAY 5200 | 69.2 | HFTD Tier 2 | 2.4212 | 0.33885 | 0.9728 | 2.7108 | 0.68232 | 1.4252 | 167.549 | 23.4483 | 67.318 | 187.5867 | 47.2164 | 98.6237 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
BUC-STL 634 | 0.28 | HFTD Tier 2 | 3.0411 | 0.4256 | 1.2218 | 3.4048 | 0.85699 | 1.7901 | 0.8515 | 0.11917 | 0.34212 | 0.95333 | 0.23996 | 0.50121 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
CALIFORNIA 204 | 5.9 | HFTD Tier 2 | 0.63809 | 0.083836 | 0.36784 | 0.68517 | 0.19425 | 0.39384 | 3.7647 | 0.49463 | 2.1703 | 4.0425 | 1.1461 | 2.3236 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
CEMETERY 41 | 3 | non-HFTD | 3.2035 | 0.35778 | 1.8242 | 3.4436 | 0.97629 | 1.9611 | 9.6104 | 1.0733 | 5.4727 | 10.3308 | 2.9289 | 5.8832 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
CEMETERY 42 | 13.8 | non-HFTD | 1.0143 | 0.11329 | 0.57761 | 1.0904 | 0.30913 | 0.62094 | 13.9977 | 1.5633 | 7.971 | 15.0471 | 4.2659 | 8.569 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
GLENSHIRE 7400 | 58 | HFTD Tier 2 | 1.5409 | 0.21565 | 0.61912 | 1.7252 | 0.43425 | 0.90704 | 89.3747 | 12.5079 | 35.9091 | 100.0633 | 25.1864 | 52.6083 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
GLENSHIRE 7600 | 6.2 | HFTD Tier 2 | 0.56499 | 0.075941 | 0.24557 | 0.62984 | 0.16182 | 0.33563 | 3.503 | 0.47083 | 1.5225 | 3.905 | 1.0033 | 2.0809 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
HOBART MILLS 7700 | 10.4 | HFTD Tier 2 | 0.41612 | 0.046474 | 0.23696 | 0.44732 | 0.12682 | 0.25474 | 4.3276 | 0.48333 | 2.4644 | 4.6521 | 1.3189 | 2.6493 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
KBH-TAH 625 | 15.44 | HFTD Tier 2 | 3.7904 | 0.53047 | 1.5229 | 4.2437 | 1.0682 | 2.2311 | 58.5243 | 8.1904 | 23.5139 | 65.5233 | 16.4925 | 34.4489 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 1 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MEY-BUC 111 | 6.41 | HFTD Tier 3 | 2.9889 | 0.41829 | 1.2009 | 3.717 | 0.9912 | 1.8633 | 19.1587 | 2.6812 | 7.6976 | 23.826 | 6.3536 | 11.9434 | 16 | 19 | 17 | 18 | 17 | 17.4 | 57 | 53 | 52 | 54 | 23 | 47.8 | 0 | 0 | 0 | 1 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 18 | 17 | 17 | 10 | 15.8 | 22 | 23 | 22 | 23 | 15 | 21
MEYERS 3100 | 50.1 | HFTD Tier 3 | 2.2997 | 0.32184 | 0.92397 | 2.5747 | 0.64807 | 1.3537 | 115.2145 | 16.1242 | 46.291 | 128.9933 | 32.4682 | 67.8182 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MEYERS 3200 | 62.2 | HFTD Tier 3 | 2.2714 | 0.31789 | 0.91262 | 2.5431 | 0.64011 | 1.337 | 141.2835 | 19.7725 | 56.7651 | 158.18 | 39.8146 | 83.1631 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MEYERS 3300 | 144.8 | HFTD Tier 3 | 2.0548 | 0.28757 | 0.82558 | 2.3005 | 0.57905 | 1.2095 | 297.5337 | 41.6396 | 119.5435 | 333.1167 | 83.847 | 175.1361 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MEYERS 3400 | 117.1 | HFTD Tier 3 | 1.8296 | 0.25606 | 0.73511 | 2.0484 | 0.5156 | 1.077 | 214.2505 | 29.9842 | 86.0818 | 239.8733 | 60.3772 | 126.1134 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 1 | 0 | 0.2 | 0 | 0 | 0 | 30 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 18 | 0 | 0 | 0 | 43.9357 | 0 | 16.7135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MEYERS 3500 | 85.8 | HFTD Tier 3 | 2.4631 | 0.34471 | 0.98964 | 2.7577 | 0.69412 | 1.4499 | 211.3357 | 29.5763 | 84.9107 | 236.61 | 59.5558 | 124.3977 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
MULLER 1296 | 55 | HFTD Tier 2 | 0.63412 | 0.56636 | 0.6495 | 0.84419 | 0.78462 | 0.69576 | 34.8769 | 31.15 | 35.7224 | 46.4302 | 43.1539 | 38.2667 | 16 | 19 | 17 | 18 | 17 | 17.4 | 57 | 53 | 52 | 54 | 23 | 47.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 18 | 17 | 17 | 10 | 15.8 | 22 | 23 | 22 | 23 | 15 | 21
NORTHSTAR 8400 (all u/g) | 0 | HFTD Tier 2 | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | na | na | na | na | na | na | na | na | na | na | na
NORTHSTAR 8500 (all u/g) | 0 | HFTD Tier 2 | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | na | na | na | na | na | na | na | na | na | na | na
NORTHSTAR 8600 | 9.4 | HFTD Tier 2 | 0.25085 | 0.035106 | 0.10079 | 0.28085 | 0.070691 | 0.14766 | 2.358 | 0.33 | 0.9474 | 2.64 | 0.6645 | 1.388 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 1 | 0 | 0 | 0 | 1.025 | 0 | 1.005 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
NST-KBH 669 | 3.51 | HFTD Tier 2 | 146.0034 | 20.433 | 58.6614 | 163.4644 | 41.1447 | 85.9414 | 512.472 | 71.72 | 205.9016 | 573.76 | 144.418 | 301.6543 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
NTR-SQV 132 | 12.54 | HFTD Tier 2 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PORTOLA 31 | 24.2 | HFTD Tier 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
PORTOLA 32 | 44.2 | HFTD Tier 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
RDH-STL 160 | 0.38 | HFTD Tier 2 | 78.6 | 11 | 31.58 | 88 | 22.15 | 46.266 | 29.868 | 4.18 | 12.0004 | 33.44 | 8.417 | 17.5811 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
RUSSELL VALLEY 7900 | 3.9 | HFTD Tier 2 | 15.6117 | 1.7436 | 8.8901 | 16.7821 | 4.7578 | 9.5571 | 60.8855 | 6.8 | 34.6715 | 65.45 | 18.5555 | 37.2725 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
SIERRA BROOKS 51 | 10.9 | HFTD Tier 2 | 31.4121 | 3.5083 | 17.8877 | 33.767 | 9.5732 | 19.2296 | 342.3914 | 38.24 | 194.9762 | 368.06 | 104.3474 | 209.603 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
SILVER LAKE 257 | 3.2 | HFTD Tier 2 | 1.1192 | 0.125 | 0.63734 | 1.2031 | 0.34109 | 0.68516 | 3.5815 | 0.4 | 2.0395 | 3.85 | 1.0915 | 2.1925 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
SQUAW VALLEY 7201 | 20.8 | HFTD Tier 2 | 40.9249 | 5.7274 | 16.4429 | 45.8192 | 11.5329 | 24.0895 | 851.238 | 119.13 | 342.0114 | 953.04 | 239.8845 | 501.0608 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
SQUAW VALLEY 8100 (all u/g) | 0 | HFTD Tier 2 | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | na | na | na | na | na | na | na | na | na | na | na | na
SQUAW VALLEY 8200 | 15.1 | HFTD Tier 2 | 52.2612 | 7.3139 | 20.9976 | 58.5113 | 14.7275 | 30.7623 | 789.144 | 110.44 | 317.0632 | 883.52 | 222.386 | 464.5106 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
SQUAW VALLEY 8300 | 11.8 | HFTD Tier 2 | 4.8625 | 0.68051 | 1.9537 | 5.4441 | 1.3703 | 2.8622 | 57.378 | 8.03 | 23.0534 | 64.24 | 16.1695 | 33.7742 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
SQV-TAH 629 | 5 | HFTD Tier 2 | 81.4296 | 11.396 | 32.7169 | 91.168 | 22.9474 | 47.9316 | 407.148 | 56.98 | 163.5844 | 455.84 | 114.737 | 239.6579 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
STAMPEDE 8700 | 0.3 | HFTD Tier 2 | 21.489 | 2.4 | 12.237 | 23.1 | 6.549 | 13.155 | 6.4467 | 0.72 | 3.6711 | 6.93 | 1.9647 | 3.9465 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
STATELINE 2200 | 0.32 | HFTD Tier 2 | 19.65 | 2.75 | 7.895 | 22 | 5.5375 | 11.5665 | 6.288 | 0.88 | 2.5264 | 7.04 | 1.772 | 3.7013 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
STATELINE 2300 | 9.2 | HFTD Tier 2 | 61.2567 | 8.5728 | 24.6118 | 68.5826 | 17.2626 | 36.0573 | 563.562 | 78.87 | 226.4286 | 630.96 | 158.8155 | 331.7272 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
STATELINE 3101 | 43 | HFTD Tier 2 | 53.4114 | 7.4749 | 21.4597 | 59.7991 | 15.0517 | 31.4394 | 2296.692 | 321.42 | 922.7676 | 2571.36 | 647.223 | 1351.8925 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
STATELINE 3501 | 47 | HFTD Tier 2 | 58.2811 | 8.1564 | 23.4162 | 65.2511 | 16.424 | 34.3057 | 2739.21 | 383.35 | 1100.563 | 3066.8 | 771.9275 | 1612.3701 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
STL-MEY 640 | 8.07 | HFTD Tier 3 | 78.5026 | 10.9864 | 31.5409 | 87.891 | 22.1226 | 46.2087 | 633.516 | 88.66 | 254.5348 | 709.28 | 178.529 | 372.904 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TAHOE CITY 5201 | 49.5 | HFTD Tier 2 | 63.8804 | 8.94 | 25.6659 | 71.52 | 18.0019 | 37.6016 | 3162.078 | 442.53 | 1270.4634 | 3540.24 | 891.0945 | 1861.2812 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TAHOE CITY 7100 | 34.2 | HFTD Tier 2 | 52.377 | 7.3301 | 21.0441 | 58.6409 | 14.7602 | 30.8305 | 1791.294 | 250.69 | 719.7082 | 2005.52 | 504.7985 | 1054.4021 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TAHOE CITY 7200 | 6.6 | HFTD Tier 2 | 30.9636 | 4.3333 | 12.4406 | 34.6667 | 8.7258 | 18.226 | 204.36 | 28.6 | 82.108 | 228.8 | 57.59 | 120.2916 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TAHOE CITY 7300 | 157 | HFTD Tier 2 | 53.1777 | 7.4422 | 21.3658 | 59.5373 | 14.9858 | 31.3017 | 8348.892 | 1168.42 | 3354.4276 | 9347.36 | 2352.773 | 4914.3745 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0.4 | 1.01 | 0 | 0 | 0 | 0 | 1.002 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TOPAZ 1261 | 69.1 | HFTD Tier 2 | 16.224 | 14.4903 | 16.6173 | 21.6708 | 20.101 | 17.8207 | 1121.076 | 1001.28 | 1148.2536 | 1497.4518 | 1388.9808 | 1231.4084 | 16 | 19 | 17 | 18 | 17 | 17.4 | 57 | 53 | 52 | 54 | 23 | 47.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 18 | 17 | 17 | 10 | 15.8 | 22 | 23 | 22 | 23 | 15 | 21
TRK 621 | 0.083 | HFTD Tier 2 | 30.6668 | 4.2812 | 12.3839 | 33.8848 | 8.6494 | 17.9732 | 529.9227 | 73.98 | 213.9939 | 585.53 | 149.462 | 310.5777 | 10 | 10 | 10 | 10 | 10 | 10 | 13 | 13 | 13 | 13 | 13 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 9 | 9 | 9 | 9 | 11 | 11 | 11 | 11 | 11 | 11
TRK-GLS 608 | 17.28 | HFTD Tier 2 | 30.6668 | 4.2812 | 12.3839 | 33.8848 | 8.6494 | 17.9732 | 529.9227 | 73.98 | 213.9939 | 585.53 | 149.462 | 310.5777 | 10 | 10 | 10 | 10 | 10 | 10 | 13 | 13 | 13 | 13 | 13 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 9 | 9 | 9 | 9 | 11 | 11 | 11 | 11 | 11 | 11
TRK-NST 650 | 5.82 | HFTD Tier 2 | 87.9186 | 12.3041 | 35.324 | 98.433 | 24.776 | 51.7511 | 511.686 | 71.61 | 205.5858 | 572.88 | 144.1965 | 301.1917 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TRK-POR 619 (not in GIS) | 6.13 | HFTD Tier 2 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRK-SQV 609 | 10.07 | HFTD Tier 2 | 86.6395 | 12.1251 | 34.8101 | 97.001 | 24.4156 | 50.9983 | 872.46 | 122.1 | 350.538 | 976.8 | 245.865 | 513.5526 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13
TRUCKEE 7202 | 18.8 | HFTD Tier 2 | 22.3257 | 3.1245 | 8.9701 | 24.9957 | 6.2915 | 13.1415 | 419.724 | 58.74 | 168.6372 | 469.92 | 118.281 | 247.0604 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TRUCKEE 7203 | 8 | HFTD Tier 2 | 16.7025 | 2.3375 | 6.7107 | 18.7 | 4.7069 | 9.8315 | 133.62 | 18.7 | 53.686 | 149.6 | 37.655 | 78.6522 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
TRUCKEE 7204 | 7.4 | HFTD Tier 2 | 7.0103 | 0.98108 | 2.8166 | 7.8486 | 1.9755 | 4.1264 | 51.876 | 7.26 | 20.8428 | 58.08 | 14.619 | 30.5356 | 11 | 11 | 10 | 11 | 10 | 10.6 | 28 | 28 | 24 | 26 | 15 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 12 | 11 | 11 | 10 | 11 | 15 | 16 | 14 | 13 | 15 | 14.6
WASHOE 201 | 8.7 | HFTD Tier 2 | 12.4035 | 1.7172 | 5.0939 | 13.554 | 3.4341 | 7.2406 | 107.9104 | 14.94 | 44.3172 | 117.92 | 29.8769 | 62.9929 | 10 | 10 | 9 | 10 | 10 | 9.8 | 30 | 28 | 23 | 28 | 13 | 24.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 11 | 10 | 9 | 10.4 | 14 | 14 | 12 | 14 | 11 | 13

## Table9
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
1 Recent wildfire mitigation performance and underlying data
1.5 Recent fuel measurements, last 5 years
INSTRUCTIONS FOR TABLE 9
Report fuel measurements for live and dead fuel in terms of moisture content and density, in the units tracked by the utility and/or other source of fuel measurements. Specify said units in the “Unit(s)” column, and report source of information in the “Comments” row. List additional fuel information tracked in the “other” row and in additional rows as needed. Calculate and report 5-year historical average. Ensure underlying data is provided per Section 1.4.
Table 9: Fuel density and moisture, last 5 years
Fuel measurement | 2015 | 2016 | 2017 | 2018 | 2019 | 5-year historical average | Unit(s) | Comments
Live fuel moisture content | [7 empty] | Data quality would be lost if provided in the specified format. Please see attached folder "Attachment 5 Table 09" for data. In 2019 Liberty CalPeco began a fuel sampling program to tack live and dead fuel moisture content, which explains the increase in data quality in 2019 when compared to 2015-2018. See attachment "2020-01-29 Reax Liberty WMP data requests.docx" for methodolgy of response.
Dead fuel moisture content
Live fuel density
Dead fuel density
Other
Note: Add additional rows as needed.

## Table 10
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
1 Recent wildfire mitigation performance and underlying data
1.6 Directional vision for future probability drivers
INSTRUCTIONS FOR TABLE 10
Rank order the detailed ignition probability drivers anticipated to undergo the greatest change and have the greatest impact on ignition probability and estimated wildfire consequence (be it to increase or decrease ignition probability and estimated wildfire consequence) over the next ten years, in order from 1 to 15, where 1 means greatest anticipated change or impact and 15 means minimal change or impact on ignition probability and estimated wildfire consequence. In the columns titled “Change in risk impact by end-2022” and “Change in risk impact by year 10”, indicate whether the impact is to significantly increase risk, moderately increase risk, have limited or no impact, moderately decrease risk, or significantly decrease risk by the end of the 3-year WMP term, assuming no implementation of WMP initiatives, and over the longer term. For each, include comments describing expected change and expected impact, using quantitative estimates wherever possible.
Table 10: Directional vision for evolution of risk drivers
| Rank order 1-15 | Incident type by ignition probability driver | Detailed risk driver | Change in risk impact by end-2022 | Change in risk impact by year 10 | Comments
| 2 | Contact from object | All types of object contact | significantly increase | significantly increase
| 11 |  | Animal contact | moderately increase | moderately increase
| 15 |  | Balloon contact | limited or none | limited or none
| 3 |  | Vegetation contact | significantly increase | significantly increase
| 12 |  | Vehicle contact | moderately increase | limited or none | Trend shows a decreasing increase from 2015-2019
| 1 | Equipment / facility failure | All types | moderately increase | moderately increase
| 14 |  | Capacitor bank failure | limited or none | limited or none
| 4 |  | Conductor failure—all | moderately increase | moderately increase
| 5 |  | Conductor failure—wires down | limited or none | moderately decrease | Trend shows a decreasing increase from 2015-2019
| 7 |  | Fuse failure—all | moderately increase | moderately increase
| 8 |  | Fuse failure— conventional blown fuse | moderately increase | moderately increase
| 6 |  | Lightning arrestor failure | significantly increase | significantly increase
| 13 |  | Switch failure | limited or none | limited or none
| 10 |  | Transformer failure | moderately increase | moderately increase
| 9 | Wire-to-wire contact / contamination |  | significantly increase | significantly increase
Other

## Section 2 - Tables 11-13
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
2 Stress tests for PSPS, ignitions, and near misses
2.1 Pre-WMP stress test: Modelled need for PSPS if no additional wildfire mitigation activities implemented
INSTRUCTIONS FOR TABLE 11
Calculate and indicate number of RFW circuit mile days under stress test weather conditions, defined as weather conditions reported for each circuit in the service territory that year that repeat the 5-year historical average of the 95th and 99th percentile wind conditions for that circuit over 2015-2019, including an assumption that a state-wide RFW was in effect each day. Use existing PSPS protocols to determine use of PSPS necessary under such stress test weather conditions: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day
Need for PSPS shall be reported in terms of the number and duration of PSPS events needed each year and normalized across stress test weather conditions (by dividing by the number of RFW circuit mile days). List additional PSPS characteristics tracked in the “other” row and additional rows as needed. These estimates shall assume no additional wildfire mitigation implementation (i.e., continued business as usual in terms of safety and reliability activities, for example, but without the addition of wildfire-specific measures outlined in the WMP). Ensure underlying data is provided per Section 1.4.
Table 11: Stress test estimate of PSPS required to manage wildfire ignition probability of current baseline system
| PSPS characteristic | 95th percentile wind conditions |  | 99th percentile wind conditions |  | Unit(s) |  | Comments
| Frequency of PSPS events (total) | - |  | - |  | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year |  | During Liberty CalPeco's 1 PSPS event in 2018, 95th and 99th percentile wind conditions were forecasted but never materialized.
| Scope of PSPS events (total) | - |  | - |  | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year
| Duration of PSPS events (total) | - |  | - |  | Customer hours per year
| Other | - |  | -
2.2 Stress test: Modelled ignitions and near misses assuming 95th and 99th percentile conditions over the 3-year plan term
INSTRUCTIONS FOR TABLE 12
Report modelled number of ignitions and near-misses for the entire service territory, by applying the following stress test assumptions for the weather conditions reported for each circuit in the service territory: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day
Assume no use of PSPS, but take into account implementation of other planned wildfire mitigation initiatives as planned each year and the granularity with which the utility monitors wind conditions. In the “Comments” column, include any other supporting information as needed to clarify the data provided in the below table, such as a description of the calculation or of subject matter expert input.
Table 12: Stress test modelled ignitions and near misses assuming 95th and 99th percentile conditions over the 3-year plan term
|  | 95th | 95th |  |  | 99th | 99th |  |  | Unit(s) | Comments
| Stress test output | Observed | Expectation |  |  | Observed | Expectation
|  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
| Number of ignitions (total) | [8 empty] | Number of ignitions | Zero ignitions occured during 95th or 99th percentile wind conditions in 2019. Liberty CalPeco does not presently have modelling capabilty or adequate data to forecast expected ignitions or near misses | bar: 2019 to 2022
| Number of near misses (total) | insufficient data | - | - | - | insufficient data | - | - | - | Number of near misses
2.3 Stress test: Modelled use of PSPS assuming 95th and 99th percentile conditions over the 3-year plan term
INSTRUCTIONS FOR TABLE 13
Report modelled use of PSPS for the entire service territory, by applying the following stress test assumptions for the weather conditions reported for each circuit in the service territory: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day Use existing PSPS methodology and the granularity with which the utility monitors wind conditions, assuming implementation of all planned wildfire mitigation initiatives as planned each year. Also list additional PSPS characteristics tracked in the “other” row and additional rows as needed. In the “Comments” column, include any other supporting information as needed to clarify the data provided in the below table, such as a description of the calculation or of subject matter expert input.
Table 13: Stress test modelled use of PSPS assuming 95th and 99th percentile conditions over the 3-year plan term
| PSPS characteristics | 2019: 95th; 2020: 95th; 2019: 99th; 2020: 99th | Unit(s) |  | Comments
|  | Observed | Expectation |  |  | Observed | Expectation
|  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
| Frequency of PSPS events (total) | [8 empty] | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year |  | During Liberty CalPeco's 1 PSPS event in 2018, 95th and 99th percentile wind conditions were forecasted but never materialized. Liberty CalPeco does not presently have modelling capabilty or adequate data to forecast expected frequency, scope, or duration of PSPS events. | bar: 2019 to 2022
| Scope of PSPS events (total) | [8 empty] | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year | bar: 2019 to 2022
| Duration of PSPS events (total) | [8 empty] | Customer hours per year | bar: 2019 to 2022
Other | bar: 2019 to 2022

## Section 3 - GIS
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
3 Utility GIS attachments
| 3.1 | Recent weather patterns | See attachment
| 3.2 | Recent fuel measurements | See attachment
| 3.3 | Potential impact of ignitions | Potential impact of ignitions could not be determined because the number of persons in the evacuation zone, assuming there was one, is unknown.
| 3.4 | Implemented 2019 WMP initiative activity | See attachment
| 3.5 | Current baseline risk maps | Liberty CalPeco does not currently have any risk based mapping as part of its GIS layers. A comprehensive risk program is currently under development which might make this possible in future submittals.
| 3.6 | Result of stress tests as defined in Section 2 | Liberty Calpeco has not performed any stress tests as outlined in Section 2, so no GIS data can be provided.

## DR - Section 4 - Other
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
4 Other attachments required by utilities
| 4.1 | List of events, last 5 years | See Attachment
| 4.2 | List of wires down, last 5 years | See Attachment
| 4.3 | Detailed information reported by weather station or circuit ID | Liberty CalPeco began installation of 13 weather stations in 2019 and will continue to add more in 2020 as outlined in the WMP. At this time the data and reports are still under development but Liberty CalPeco should be able to provide weather station data for future WMP filings.

## Instructions
Liberty CalPeco - 2020 Wildfire Mitigation Plan
Supplemental Data Requests
Attachment 5
SUPPLEMENTAL DATA REQUEST
Attachment 5
INSTRUCTIONS
Should any portion of the SDR require information that the utility has not collected itself nor could ascertain based on information that the utility does collect, the utility shall work with federal, state, and local agencies, stakeholders, and partners to collect or compile the information.
Where the information in question is not collected by any stakeholder and cannot be collected by the utility, the utility shall indicate this in the comments and include a description of the most similar data point(s) that the utility and/or other stakeholders do track that most closely fits the requirement. The utility shall describe its plan to improve its data collection and/or cooperation with partners with the goal of collecting the required information, including the timeline to implementation.
In the event that any of the requested information is confidential, the utility shall provide 2 versions, 1 which includes all of the information and a second that does not include the confidential information.
Clarification of normalization calculation: For those metrics and other figures that are likely to vary year- to-year based on the prevalence of fire-weather conditions, instructions are included to report said metric or figure both 1) as a total for the year and 2) normalized by Red Flag Warning (RFW) circuit mile days. The denominator “RFW circuit mile days” is intended to capture the duration and scope of the fire weather that year and is calculated as the number of circuit miles that were under a RFW multiplied by the number of days those miles were under said RFW. For example, if 100 circuit miles were under a RFW for 1 day, and 10 of those miles were under RFW for an additional day, then the total RFW circuit mile days would be 110.
Formatting: Provide responses to prompts in SDR guidelines in Word and PDF format, enclosing all completed tables in spreadsheets in Excel format or in database format. Use additional space, rows, and pages as needed to answer questions completely. Where the number of additional rows needed to report complete information exceeds 15 rows, provide spreadsheet or database in attachment. Provide other file types as needed for data, including shapefiles and images, as applicable. Submit all files containing text or numbers in a format that can be searched and copy-pasted.
1. The utility shall work with local agencies, stakeholders public safety partners, etc. to ascertain the correct data requested.
2. In the event data isn't collected or cannot be provided by third parties, indicate in the Comments that the utility does not track and provide the most relevant information secondary to the request.
3. For those items in number 2, the utility shall describe a plan to provide and improve data collection and cooperation with third parties to ensure this information is available for future filings. This should include a timeline for implementation

## Supplemental Data Req. Attach5
SUPPLEMENTAL DATA REQUEST
Attachment 5
INSTRUCTIONS
Should any portion of the SDR require information that the utility has not collected itself nor could ascertain based on information that the utility does collect, the utility shall work with federal, state, and local agencies, stakeholders, and partners to collect or compile the information.
Where the information in question is not collected by any stakeholder and cannot be collected by the utility, the utility shall indicate this in the comments and include a description of the most similar data point(s) that the utility and/or other stakeholders do track that most closely fits the requirement. The utility shall describe its plan to improve its data collection and/or cooperation with partners with the goal of collecting the required information, including the timeline to implementation.
In the event that any of the requested information is confidential, the utility shall provide 2 versions, 1 which includes all of the information and a second that does not include the confidential information.
Clarification of normalization calculation: For those metrics and other figures that are likely to vary year- to-year based on the prevalence of fire-weather conditions, instructions are included to report said metric or figure both 1) as a total for the year and 2) normalized by Red Flag Warning (RFW) circuit mile days. The denominator “RFW circuit mile days” is intended to capture the duration and scope of the fire weather that year and is calculated as the number of circuit miles that were under a RFW multiplied by the number of days those miles were under said RFW. For example, if 100 circuit miles were under a RFW for 1 day, and 10 of those miles were under RFW for an additional day, then the total RFW circuit mile days would be 110.
Formatting: Provide responses to prompts in SDR guidelines in Word and PDF format, enclosing all completed tables in spreadsheets in Excel format or in database format. Use additional space, rows, and pages as needed to answer questions completely. Where the number of additional rows needed to report complete information exceeds 15 rows, provide spreadsheet or database in attachment. Provide other file types as needed for data, including shapefiles and images, as applicable. Submit all files containing text or numbers in a format that can be searched and copy-pasted.
1 Recent wildfire mitigation performance and underlying data
1.1 Recent performance on progress metrics, last 5 years
Report performance on the following metrics within the utility’s service territory over the past five years. Where the utility does not collect its own data on a given metric, the utility shall work with the relevant state agencies to collect the relevant information for its service territory, and clearly identify the owner and dataset used to provide the response in the “Comments” column.
Table 1: Recent performance on progress metrics, last 5 years
Report performance on the following metrics within the utility’s service territory over the past five years. Where the utility does not collect its own data on a given metric, the utility shall work with the relevant state agencies to collect the relevant information for its service territory, and clearly identify the owner and dataset used to provide the response in the “Comments” column.
Annual performance
| # | Progress metric name | 2015 | 2016 | 2017 | 2018 | 2019 | Unit(s) | Comments
| 1 | Extreme weather prediction accuracy | [5 empty] | Percentage of total PSPS predictions that are false positives (where the utility’s situational awareness indicates that the upcoming risk level will exceed the threshold for PSPS, but it eventually does not do so) or false negatives (where the utility’s situational awareness indicates that the upcoming risk level will not exceed the threshold for PSPS, but it eventually does do so) 2 days before a potential PSPS event
| 2 | Equipment operating load above nameplate capacity | [5 empty] | Number of circuit hours operated above nameplate capacity in HFTD areas
Average % above nameplate capacity when equipment operated above nameplate capacity in HFTD areas
| 3 | Risk-spend efficiency of resources deployed towards wildfire mitigation efforts | [5 empty] | Dollars per incremental life saved
Dollars invested per estimated dollars of rebuilt structures avoided
Dollars per customer hour of PSPS avoided
| 4 | Extent of hardening across grid | [5 empty] | Percent of all grid assets in HFTD areas using proven and demonstrated wildfire-resistant equipment
| 5 | Community engagement activity and effectiveness | [5 empty] | Percent of residents made aware of PSPS and emergency response procedures in advance of events, according to post-event surveys
Percent of residents agreeing to participate in utility wildfire risk-reduction activities (e.g., allowing access to property for utility hazard tree remediation)
| 6 | Emergency planning and preparedness | [5 empty] | Number of emergency response deficiencies reported by Cal OES, suppression agencies, and other emergency response personnel when plans tested or activated
1.2 Recent performance on outcome metrics, annual and normalized for weather, last 5 years
Table 2: Recent performance on outcome metrics, last 5 years
Annual performance
Metric type | # | Outcome metric name | 2015 | 2016 | 2017 | 2018 | 2019 | Unit(s) | Comments
1. Risk spend efficiency of WMP programs | 1.a. | Average risk spend efficiency of all WMP programs being undertaken by utility | [5 empty] | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas
| 1.b. | Average risk spend efficiency of wildfire-only WMP programs being undertaken by utility | [5 empty] | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas
2. Customer hours of PSPS based on stress test conditions | 2.a. | Percent of customers experiencing PSPS given 95th percentile fire weather conditions along entire grid using utility PSPS decision protocols | [5 empty] | Percent of all customers
| 2.b. | Percent of customers experiencing PSPS given 99th percentile fire weather conditions along entire grid using utility PSPS decision protocols | [5 empty] | Percent of all customers
3. Electricity cost to ratepayers | 3.a. | Increase in electric costs to ratepayer due to wildfires (total) | 0 | 293092.08 | 20203.17 | 0 | 0 | Dollar value rates increase attributable to wildfires per year | Closed capital jobs due to wildfires
| 3.b. | Increase in electric costs to ratepayer due to wildfires (normalized) | 0 | 690.9616 | 18.2932 | 0 | 0 | Dollar value rates increase attributable to wildfires per RFW circuit mile per year | 3a. per RFW circuit mile per year
| 3.c. | Increase in electric costs to ratepayer due to wildfire mitigation activities (total) | 0 | 0 | 0 | 0 | 0 | Dollar value rates increase attributable to WMPs per year | WM activities are included in the GRC. They were not specifically broken out as WM
4. Actual renewable energy procurement | 4.a. | Electricity procured from renewable sources | [5 empty] | Percentage of total electricity procured per year
5. Impact of utility ignitions based on ignition simulation | 5.a. | Potential impact of ignitions (total) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition per year, based on in-house or contractors’ fire spread models
| 5.b. | Potential impact of ignitions (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition per RFW circuit mile day per year
| 5.c. | Potential impact of ignitions in HFTD (subtotal) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per year
| 5.c.i. | Potential impact of ignitions in HFTD Zone 1 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per year
| 5.c.ii. | Potential impact of ignitions in HFTD Tier 2 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per year
| 5.c.iii. | Potential impact of ignitions in HFTD Tier 3 | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per year
| 5.d. | Potential impact of ignitions in HFTD (subtotal, normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per RFW circuit mile day per year
| 5.d.i. | Potential impact of ignitions in HFTD Zone 1 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per RFW circuit mile day per year
| 5.d.ii. | Potential impact of ignitions in HFTD Tier 2 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per RFW circuit mile day per year
| 5.d.iii. | Potential impact of ignitions in HFTD Tier 3 (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per RFW circuit mile day per year
| 5.e. | Potential impact of ignitions in non-HFTD (subtotal) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per year
| 5.f. | Potential impact of ignitions in non-HFTD (normalized) | [5 empty] | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per RFW circuit mile day per year
6. Public impacted by utility-ignited wildfire evacuation | 6.a. | Number of people residing in evacuation zone of utility-ignited wildfire (total) | [5 empty] | Number of people in evacuation zones of utility ignited wildfire
| 6.b. | Number of people residing in evacuation zone of utility-ignited wildfire (normalized) | [5 empty] | Number of people per RFW circuit mile day per year
| 6.c. | Impact of evacuations for utility-ignited wildfire (total) | [5 empty] | Person-hours per year
| 6.d. | Impact of evacuations for utility-ignited wildfire (normalized) | [5 empty] | Person-hours per RFW circuit mile day per year
7. Estimated GHG emissions from utility- ignited wildfire | 7.a. | GHG emissions from utility- ignited wildfires (total) | [5 empty] | Estimated tons of carbon dioxide equivalent emitted per year
| 7.b. | GHG emissions from utility- ignited wildfires (normalized) | [5 empty] | Estimated tons of carbon dioxide equivalent emitted per RFW circuit mile day per year
8. Transportation impacted by PSPS | 8.a. | Critical transportation infrastructure impacted due to PSPS | [5 empty] | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per year
| 8.b. | Major roads impacted due to PSPS (normalized) | [5 empty] | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per RFW circuit mile day per year
1.3 Detailed information supporting outcome metrics
INSTRUCTIONS
Enclose detailed information as requested for the metrics above. For utility-ignited wildfires over each of the past 5 years, report annual totals for the number of days an evacuation order was in effect in the utility’s service territory, the number of people residing in evacuation zones, and the reported actual evacuation numbers of people evacuated during the period of evacuation.
Table 3: Annual evacuations for utility-ignited wildfire, last 5 years
| Year | Total days evacuation order in effect | Number of people residing in evacuation zones |  |  | Evacuation actuals (total number of people)
2015
2016
2017
2018
2019
INSTRUCTIONS FOR TABLE 4
Use spreadsheet or database format to report 1) list of all occurred events per type listed as an “incident type”, including those added by the utility in Section 1.6, and 2) wires down events, both over the last five years. Include as attachments to the SDR, Attachment 4.1 and Attachment 4.2, respectively. Each attachment must include the column groups and columns listed in the following table at a minimum. Each logged event must be reported in an individual row, with data for that event reported according to each of the columns listed in the table below.
Table 4: Spreadsheet columns for lists of events, last 5 years
| Column groups |  | Columns
| Identifying information |  | Type of event
Date
Time
| Location information |  | Latitude
Longitude
Circuit name
Land use (rural / urban)
Enhanced inspections and maintenance conducted according to 2019 WMP at location prior to event (Yes / No)
Enhanced vegetation management conducted according to 2019 WMP at location prior to event (Yes / No)
| Utility facility information |  | Type of equipment involved
Facility identification
Voltage
Age of involved equipment
Overhead or underground
Covered conductor or other
Other companies’ equipment involved (or N/A)
| Situational awareness information |  | Local temperature at time of event
Local wind speed at time of event
Nearest weather station by weather station ID
Last inspection data of involved equipment
Time-to-expected failure of involved equipment on date of incident (in number of days until the involved equipment
was expected to fail)
Overcapacity history of involved equipment (percent of time equipment operated over nameplate capacity)
INSTRUCTIONS FOR TABLE 5
Use spreadsheet or database format to report the following information for each circuit ID. For each of the columns listed below, with the exception of “service territory location,” report information for each circuit ID separately for years 2015, 2016, 2017, 2018, and 2019; calculate a 5-year historical average and include it in a sixth sub-column. Each attachment must include information on each circuit reported in an individual row for each circuit ID reported by the column groups and columns listed in the following table at a minimum, with six sub-columns to report information on each of the five years and the historical average. See Table 6 for an example for the column group for “fire weather”. Include as attachment to the SDR, Attachment 4.3.
Table 5: Spreadsheet columns for information reported by circuit, last 5 years and historical average
|  | Column groups | Columns
|  | Service territory location | HFTD rating (i.e., whether the circuit is in non-HFTD, HFTD Zone 1, HFTD Tier 2, or HFTD Tier 3)
|  | Fire weather, last 5 years and historical average | Number of Red Flag Warning days
Average annual proprietary fire potential index or similar fire risk index measure
Annual maximum value reached in utility’s proprietary fire potential index or similar fire risk index measure (i.e., the highest FPI that circuit experienced in a given year)
|  | Number and impact of PSPS de- energizations, last 5 years and historical average | Number of PSPS de-energizations
Number of customers located on de-energized circuit
Number of affected customers on other circuits
Customer hours of PSPS (i.e., the number of customers affected times the number of hours they were affected by PSPS)
Customer hours of PSPS per RFW circuit mile day
|  | Recent overcapacity, last 5 years and historical average | Hours operated above nameplate capacity
Average load as a percent of nameplate capacity for the hours operated above nameplate capacity
|  | Extreme weather near circuit | 95th percentile wind conditions (average of all weather stations within 10 miles of a circuit)
99th percentile wind conditions (average of all weather stations within 10 miles of a circuit)
Table 6: EXAMPLE - Fire weather over the last 5 years, by circuit ID
Fire weather
|  |  | Number of Red Flag Warnings | [5 empty] | Average annual proprietary fire potential index | [5 empty] | Highest proprietary fire potential index of the year
Circuit ID
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average
INSTRUCTIONS FOR TABLE 7
Report underlying data for recent conditions (over the last five years) of the utility service territory in a downloadable shapefile GIS format, to include the following layers of data plotted on the utility service territory map as specified below, at a minimum. Provide information for each year; calculate and provide a five-year average. Name and attach files according to the table below.
Table 7: Map file requirements for recent and modelled conditions of utility service territory, last 5 years
| Layer name |  | Measurements |  |  |  |  | Units | Attachment Location
| Recent weather patterns |  | Average annual number of fire risk ratings equal to the top 30% of proprietary fire potential index or similar fire risk index measure |  |  |  |  | Area, days, square mile resolution | 3.1
|  |  | Difference between forecast and actual wind when either is projected to be or is at 95th percentile wind conditions |  |  |  |  | Area, miles per hour, at a square mile resolution or better, noting where measurements are actual or interpolated
| Recent fuel measurements |  | Average distribution and mass of fuel |  |  |  |  | Area, tons per square mile, square mile resolution, one layer for each month | 3.2
|  |  | Average distribution and mass of fuel below 62% live fuel moisture content each month |  |  |  |  | Area, tons per square mile, square mile resolution, one layer for each month
|  |  | Average distribution and mass of fuel below 5% live fuel moisture content |  |  |  |  | Area, tons per square mile, square mile resolution, one layer for each month
| Potential impact of ignitions |  | Date of recent ignitions and potential impact measured in number of people in evacuation zone of modeled fire spread |  |  |  |  | Point, GPS coordinate, days, number of people, square mile resolution | 3.3
| Implemented 2019 WMP initiative activity |  | Location of completed 2019 WMP initiative activity for each activity |  |  |  |  | Line, quarter mile resolution, one layer per initiative | 3.4
INSTRUCTIONS FOR TABLE 8
Report underlying data for baseline conditions (projected for 2020) of the utility service territory in a downloadable shapefile GIS format and database, to include the following layers of data plotted on the utility service territory map as specified below, at a minimum. Report more granular resolutions where available (e.g., asset-level instead of by circuit mile).
Table 8: Map file requirements for baseline condition of utility service territory projected for 2020
| Layer name |  | Measurements / variables |  |  |  |  | Units | Appendix location
| Current baseline risk maps |  | Ignition probability per year given 5-year historical average conditions |  |  |  |  | Line, quarter mile resolution | 3.5
|  |  | Wildfire consequence to communities |  |  |  |  | Area, number of people affected, square mile resolution
| Result of stress test as defined in Section 2 |  | Duration of PSPS events and area of the grid affected in customer hours per year |  |  |  |  | Area, customer hours, square mile resolution | 3.6
|  |  | Number of ignitions and near misses |  |  |  |  | Line, circuit mile resolution
1.5 Recent fuel measurements, last 5 years
INSTRUCTIONS FOR TABLE 9
Report fuel measurements for live and dead fuel in terms of moisture content and density, in the units tracked by the utility and/or other source of fuel measurements. Specify said units in the “Unit(s)” column, and report source of information in the “Comments” row. List additional fuel information tracked in the “other” row and in additional rows as needed. Calculate and report 5-year historical average. Ensure underlying data is provided per Section 1.4.
Table 9: Fuel density and moisture, last 5 years
Fuel measurement | 2015 | 2016 | 2017 | 2018 | 2019 | 5-year historical average |  | Unit(s) | Comments
Live fuel moisture content
Dead fuel moisture content
Live fuel density
Dead fuel density
Other
Note: Add additional rows as needed.
1.6 Directional vision for future probability drivers
INSTRUCTIONS FOR TABLE 10
Rank order the detailed ignition probability drivers anticipated to undergo the greatest change and have the greatest impact on ignition probability and estimated wildfire consequence (be it to increase or decrease ignition probability and estimated wildfire consequence) over the next ten years, in order from 1 to 15, where 1 means greatest anticipated change or impact and 15 means minimal change or impact on ignition probability and estimated wildfire consequence. In the columns titled “Change in risk impact by end-2022” and “Change in risk impact by year 10”, indicate whether the impact is to significantly increase risk, moderately increase risk, have limited or no impact, moderately decrease risk, or significantly decrease risk by the end of the 3-year WMP term, assuming no implementation of WMP initiatives, and over the longer term. For each, include comments describing expected change and expected impact, using quantitative estimates wherever possible.
Table 10: Directional vision for evolution of risk drivers
| Rank order 1-15 | Incident type by ignition probability driver | Detailed risk driver |  |  | Change in risk impact by end-2022 |  | Change in risk impact by year 10 | Comments
|  | Contact from object | All types of object contact
Animal contact
Balloon contact
Vegetation contact
Vehicle contact
|  | Equipment / facility failure | All types
Capacitor bank failure
Conductor failure—all
Conductor failure—wires down
Fuse failure—all
Fuse failure— conventional blown fuse
Lightning arrestor failure
Switch failure
Transformer failure
Wire-to-wire contact / contamination
Other
2 Stress tests for PSPS, ignitions, and near misses
2.1 Pre-WMP stress test: Modelled need for PSPS if no additional wildfire mitigation activities implemented
INSTRUCTIONS FOR TABLE 11
Calculate and indicate number of RFW circuit mile days under stress test weather conditions, defined as weather conditions reported for each circuit in the service territory that year that repeat the 5-year historical average of the 95th and 99th percentile wind conditions for that circuit over 2015-2019, including an assumption that a state-wide RFW was in effect each day. Use existing PSPS protocols to determine use of PSPS necessary under such stress test weather conditions: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day
Need for PSPS shall be reported in terms of the number and duration of PSPS events needed each year and normalized across stress test weather conditions (by dividing by the number of RFW circuit mile days). List additional PSPS characteristics tracked in the “other” row and additional rows as needed. These estimates shall assume no additional wildfire mitigation implementation (i.e., continued business as usual in terms of safety and reliability activities, for example, but without the addition of wildfire-specific measures outlined in the WMP). Ensure underlying data is provided per Section 1.4.
Table 11: Stress test estimate of PSPS required to manage wildfire ignition probability of current baseline system
|  | PSPS characteristic | 95th percentile wind conditions |  | 99th percentile wind conditions |  | Unit(s)
|  | Frequency of PSPS events (total) |  |  |  |  | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year
|  | Scope of PSPS events (total) |  |  |  |  | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year
|  | Duration of PSPS events (total) |  |  |  |  | Customer hours per year
Other
2.2 Stress test: Modelled ignitions and near misses assuming 95th and 99th percentile conditions over the 3-year plan term
INSTRUCTIONS FOR TABLE 12
Report modelled number of ignitions and near-misses for the entire service territory, by applying the following stress test assumptions for the weather conditions reported for each circuit in the service territory: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day
Assume no use of PSPS, but take into account implementation of other planned wildfire mitigation initiatives as planned each year and the granularity with which the utility monitors wind conditions. In the “Comments” column, include any other supporting information as needed to clarify the data provided in the below table, such as a description of the calculation or of subject matter expert input.
Table 12: Stress test modelled ignitions and near misses assuming 95th and 99th percentile conditions over the 3-year plan term
|  |  | 95th | 95th |  |  | 99th | 99th |  |  | Unit(s) |  | Comments
|  | Stress test output | Observed | Expectation |  |  | Observed | Expectation
|  |  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
|  | Number of ignitions (total) | [8 empty] | Number of ignitions
|  | Number of near misses (total) | [8 empty] | Number of near misses
2.3 Stress test: Modelled use of PSPS assuming 95th and 99th percentile conditions over the 3-year plan term
INSTRUCTIONS FOR TABLE 13
Report modelled use of PSPS for the entire service territory, by applying the following stress test assumptions for the weather conditions reported for each circuit in the service territory: 1. the 5-year historical average of the 95th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day 2. the 5-year historical average of the 99th percentile wind conditions for that circuit over 2015-2019, with a Red Flag Warning in effect each day Use existing PSPS methodology and the granularity with which the utility monitors wind conditions, assuming implementation of all planned wildfire mitigation initiatives as planned each year. Also list additional PSPS characteristics tracked in the “other” row and additional rows as needed. In the “Comments” column, include any other supporting information as needed to clarify the data provided in the below table, such as a description of the calculation or of subject matter expert input.
Table 13: Stress test modelled use of PSPS assuming 95th and 99th percentile conditions over the 3-year plan term
|  | PSPS characteristics | 2019: 95th; 2020: 95th; 2019: 99th; 2020: 99th | Unit(s) |  |  | Comments
|  |  | Observed | Expectation |  |  | Observed | Expectation
|  |  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
|  | Frequency of PSPS events (total) | [8 empty] | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year
|  | Scope of PSPS events (total) | [8 empty] | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year
|  | Duration of PSPS events (total) | [8 empty] | Customer hours per year
Other
3 Utility GIS attachments
| 3.1 | Recent weather patterns
| 3.2 | Recent fuel measurements
| 3.3 | Potential impact of ignitions
| 3.4 | Implemented 2019 WMP initiative activity
| 3.5 | Current baseline risk maps
| 3.6 | Result of stress tests as defined in Section 2
4 Other attachments required by utilities
| 4.1 | List of events, last 5 years
| 4.2 | List of wires down, last 5 years
| 4.3 | Detailed information reported by weather station or circuit ID
1. The utility shall work with local agencies, stakeholders public safety partners, etc. to ascertain the correct data requested.
2. In the event data isn't collected or cannot be provided by third parties, indicate in the Comments that the utility does not track and provide the most relevant information secondary to the request.
3. For those items in number 2, the utility shall describe a plan to provide and improve data collection and cooperation with third parties to ensure this information is available for future filings. This should include a timeline for implementation