## Table 1-1
Table 1-1: PSPS Event Summary
Total Customers |  |  | De-energized |  |  |  | Number of Circuits |  |  | Damage/Hazard Count
PSPS Notified | De-energized | Cancelled | MBL Customers | Number of Counties | Number of Tribes | Critical Facilities and Infrastructure | Transmission De-energized | Distribution Circuits in Scope | Distribution Circuits De-energized
1,663 | 0 | 1,663 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0

## Table 2-1
Table 2-1: Factors Considered in Decision to De-Energize
Circuit De-energized | Sustained Wind Speed (mph) | Gust Wind Speed (mph) | Relative Humidity (%) | FFWI | Live Woody Fuel Moisture | 1000hr Fuel Moisture (%)
N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 2-2
Table 2-2: Fire Weather Monitoring
Risk Indicator | What We Monitor | Why It Matters
Composite Risk Index (CRI) | The CRI combines utility fire likelihood and consequence to calculate the wildfire risk near Liberty's power lines | It helps us decide when extra safety steps may be needed, including a possible Public Safety Power Shutoff.
Wind Conditions | Wind speeds and gusts from forecasts and weather stations | Strong winds can damage power lines or blow debris into them. Wind can also cause a fire to spread faster.
Vegetation and Fuel Conditions | Fuel moisture, vegetation dryness, and fire behavior indicators | Dry plants can catch fire more easily and cause a fire to burn hotter and spread faster.
Fire Weather Conditions | Temperature, humidity, dryness, and fire behavior indicators | Hot, dry, and windy weather can increase the chance that a fire will start and spread rapidly.

## Table 2-3
Table 2-3: Recent Fuel Moisture Sampling Results
Fuel Moisture Sampling Site | Date of Sample | Circuits | Live woody fuel % | 1,000 hour fuel % | ERC(Y) percentile | Spread Component | Burn Index | Ignition Component
Topaz | 9/7/26 | MULLER1296 | 71 | 5 | 83 | 2 | 29 | 10
TPZ1202
Verdi | 9/7/26 | CAL2501 | 117 | 7 | 80 | 2 | 23 | 6
WSH201

## Table 2-4
Table 2‑4: September 12, 2026 CRI by forecast cycle (% of zone threshold)
Forecast cycle | CAL2501 | WSH201 | MULLER1296 | TOPAZ1202 | Highest
(UTC)
09/08/26 12Z | 85 | 47 | 111 | 91 | 111
09/08/26 18Z | 109 | 54 | 135 | 126 | 135
09/09/26 00Z | 91 | 45 | 110 | 88 | 110
09/09/26 06Z | 76 | 43 | 103 | 80 | 103
09/09/26 12Z | 55 | 32 | 92 | 60 | 92
09/09/26 18Z | 58 | 34 | 98 | 60 | 98
09/10/26 00Z | 37 | 21 | 65 | 38 | 65
09/10/26 06Z | 37 | 21 | 67 | 39 | 67
09/10/26 12Z | 41 | 28 | 81 | 48 | 81
09/10/26 18Z | 40 | 27 | 73 | 39 | 73
09/11/26 00Z | 33 | 21 | 62 | 34 | 62
09/11/26 06Z | 34 | 21 | 56 | 32 | 56
09/11/26 12Z | 32 | 20 | 54 | 32 | 54
09/11/26 18Z | 32 | 20 | 53 | 33 | 53
09/12/26 00Z | 29 | 19 | 52 | 33 | 52
09/12/26 06Z | 27 | 18 | 51 | 33 | 51
09/12/26 12Z | 27 | 18 | 48 | 32 | 48

## Table 2-5
Table 2-5: Maximum 20-foot wind gust (mph)
Station and location | Observed | NBM | HRRR | 3 km | ECMWF /
|  |  |  | NAM | Euro
LIB05 Park Ranch | 43 | 40 | 31 | 31 | 27
LIB06 Walker | 29 | 43 | 28 | 33 | 34
LIB26 Eastside Lane | 34 | 36 | 25 | 35 | 34
LIB03 Woodfords | 40 | 44 | 30 | 33 | 34
LIB25 Emigrant Trail | 39 | 43 | 31 | 31 | 34
LIB28 Markleeville | 38 | 36 | 26 | 31 | 44
LIB21 Floriston | 35 | 30 | 28 | 32 | 44

## Table 2-6
Table 2-6: Maximum 20-foot wind speed (mph)
Station and location | Observed | NBM | HRRR | 3 km | ECMWF /
|  |  |  | NAM | Euro
LIB05 Park Ranch | 23 | 24 | 20 | 18 | 10
LIB06 Walker | 21 | 28 | 16 | 14 | 11
LIB26 Eastside Lane | 20 | 26 | 18 | 17 | 11
LIB03 Woodfords | 23 | 28 | 21 | 18 | 12
LIB25 Emigrant Trail | 26 | 26 | 22 | 18 | 12
LIB28 Markleeville | 18 | 16 | 15 | 15 | 14
LIB21 Floriston | 29 | 19 | 18 | 17 | 12

## Table 2-7
Table 2-7: Minimum relative humidity (%)
Station and location | Observed | NBM | HRRR | 3 km | ECMWF /
|  |  |  | NAM | Euro
LIB05 Park Ranch | 12 | 15 | 12 | 16 | 9
LIB06 Walker | 11 | 17 | 10 | 12 | 12
LIB26 Eastside Lane | 10 | 14 | 11 | 13 | 12
LIB03 Woodfords | 12 | 18 | 15 | 17 | 11
LIB25 Emigrant Trail | 11 | 19 | 14 | 15 | 11
LIB28 Markleeville | 14 | 16 | 15 | 21 | 12
LIB21 Floriston | 17 | 22 | 18 | 14 | 16

## Table 2-8
Table 2-8: Maximum temperature (°F)
Station and location | Observed | NBM | HRRR | 3 km | ECMWF /
|  |  |  | NAM | Euro
LIB05 Park Ranch | 85 | 84 | 83 | 82 | 81
LIB06 Walker | 83 | 79 | 82 | 83 | 73
LIB26 Eastside Lane | 83 | 81 | 82 | 79 | 73
LIB03 Woodfords | 79 | 81 | 79 | 79 | 77
LIB25 Emigrant Trail | 82 | 81 | 81 | 82 | 77
LIB28 Markleeville | 78 | 78 | 79 | 76 | 72
LIB21 Floriston | 77 | 77 | 73 | 72 | 71

## Table 2-9
Table 2‑9: Estimated wildfire consequence and outage program risk for September 12
| Forecasted Wildfire Consequence |  |  | Estimated Outage Program Risk
| ($ Millions) |  |  | ($ Millions)
Circuit | No Mitigation | With PSPS | With Fast-Trip | PSPS | Fast-Trip
|  | (75% effective) | (56% effective)
WSH201 | 14.1 | 3.5 | 6.2 | 0.36 | 0.02
TPZ1202 | 63.9 | 16.0 | 28.1 | 3.30 | 0.17
MULLER1296 | 83.5 | 20.9 | 36.7 | 2.58 | 0.13
CAL2501 | 106.2 | 26.6 | 46.7 | 0.25 | 0.01

## Table 2-10
Table 2‑10: Estimated ignition probabilities
Ignition Probability
Circuit | Breakeven - PSPS vs. Fast-Trip | Risk Model Estimate
WSH201 | 12.9% | 0.007%
TPZ1202 | 25.9% | 0.174%
MULLER1296 | 15.5% | 0.075%
CAL2501 | 1.2% | 0.011%

## Table 3-1
Table 3-1: PSPS Event Summary
Circuits De-Energized
County | Circuit Name | De-energization Date | De-energization Time (2400) | All Clear Declaration Date | All Clear Declaration Time (2400) | Restoration Date | Restoration Time (2400) | G.O. 95 Tier HFTD | Distribution/ Transmission Classification
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Circuits De-Energized (continued)
County | Circuit Name | Residential Customers De-energized | Commercial / Industrial customers De-energized | Medical Baseline customers De-energized | AFN other than MBL customers De-energized | Total customers De-energized [3] | Restoration Time (2400) | G.O. 95 Tier HFTD | Other Customers
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 4-1
Table 4-1: Damage and Hazards Found
Circuit Name | Structure Identifier | County | G.O. 95 Tier HFTD | Type of Damage/ Hazard
N/A | N/A | N/A | N/A | N/A

## Table 5-1
Table 5-1: Description of PSPS Notifications
Type of Notification | Recipients | Description
Initial Notice for PSPS Event | PSPs and CFI (includes local and Tribal governments, hospitals, water/wastewater, telecommunications and transportation providers, CBOs) | Initial notification of potential PSPS event when circuits are first identified for potential de-energization. (72-48 hours in advance of potential de-energization)
All customers
Updated Notices for PSPS Event | PSPs and CFI (includes local and Tribal governments, hospitals, water/wastewater, telecommunications and transportation providers, CBOs) | Updated notifications of potential PSPS event for circuits identified for potential de-energization. (48-24 hours and within 24 hours in advance of potential de-energization)
All customers
Event Cancelled/ Concluded | PSPs and CFI (includes local and Tribal governments, hospitals, water/wastewater, telecommunications and transportation providers, CBOs) | Notification that the potential PSPS event has been cancelled and PSPS protocols are no longer enacted for this event. (Within two hours of the decision to cancel)
All customers

## Table 5-2
Table 5-2: Notification Timeline
Event Order | Notification Type | Requirement Timeline | Notifications Sent To | Date Sent | Approximate Time Sent: Alpine County | Approximate Time Sent: Mono County | Approximate Time Sent: Nevada and Sierra Counties
Pre-De-energization (prior) | Initial Notice for PSPS Event | 72-48 hours | PSP | 09/09/2026 | Refer to Table 6-1
|  | 72-48 hours | CFI | 09/09/2026 | 19:30
|  | 72-48 hours | MBL customers | 09/09/2026 | 19:30
|  | 72-48 hours | All other affected customers | 09/09/2026 | 19:30
|  | 72-48 hours | CalOES | 09/09/2026 09/10/2026 | 18:54 (09/09/2026)
06:55 (09/10/2026)
|  | 72-48 hours | CPUC | 09/09/2026 | 20:07
| Updated Notice for PSPS Event | 48-24 hours | PSP | 09/10/2026 | Refer to Table 6-1
|  | 48-24 hours | CFI | 09/10/2026 | 16:17 | 16:17 | 17:22
|  | 48-24 hours | MBL customers | 09/10/2026 | 16:17 | 16:17 | N/A
|  | 48-24 hours | All other affected customers | 09/10/2026 | 16:17 | 16:17 | 17:22
|  | 48-24 hours | CalOES | 09/10/2026 | 14:57 (09/10/2026)
|  |  |  | 09/11/2026 | 06:55 (09/11/2026)
|  | 48-24 hours | CPUC | 09/10/2026 | 09:40
| Updated Notice for PSPS Event | < 24 hours | PSP | 09/11/2026 | Refer to Table 6-1
|  | < 24 hours | CFI | 09/11/2026 | 16:39 | 16:39 | N/A
|  | < 24 hours | MBL customers | 09/11/2026 | 16:39 | 16:39 | N/A
|  | < 24 hours | All other affected customers | 09/11/2026 | 16:39 | 16:39 | N/A
|  | < 24 hours | CalOES | 09/11/2026 | 14:14 | 14:14 | 14:14
|  | < 24 hours | CPUC | 09/11/2026 | 09:06 | 09:06 | 09:06
|  |  |  | 9/11/2026 | 15:59 | 15:59 | N/A
| Event Cancelled / Concluded | Within 2 hours of decision to cancel) | PSP | 9/11/2026 | Refer to Table 6-1
9/12/2026
|  | Within 2 hours of decision to cancel) | CFI | 9/11/2026 | N/A | N/A | 14:22
|  |  |  | 9/12/2026 | 07:59 | 07:59 | N/A
|  | Within 2 hours of decision to cancel) | MBL customers | 9/11/2026 | N/A | N/A | 14:22
|  |  |  | 9/12/2026 | 07:59 | 07:59 | N/A
|  | Within 2 hours of decision to cancel) | All other affected customers | 9/11/2026 | N/A | N/A | 14:22
|  |  |  | 9/12/2026 | 07:59 | 07:59 | N/A
|  | Within 2 hours of decision to cancel) | CalOES | 9/11/2026 | N/A | N/A | 14:14
|  |  |  | 9/12/2026 | 07:00 | 07:00 | 07:00
|  | Within 2 hours of decision to cancel) | CPUC | 9/11/2026 | N/A | N/A | 15:59
|  |  |  | 9/12/2026 | 07:38 | 07:38 | N/A

## Table 5-3
Table 5-3: Positive Notifications to MBL Customers
Category | Total Number of Customers | Timing of Attempts | Notification Attempts | Successful Positive Notification | Who Made the Notification
Medical Baseline | 18 | 9/9/2026 at 1930 hours | 32 | 162 | Liberty
9/10/2026 between 0839 hours and 0916 hours
09/12/2026 at 0759 hours
2 Liberty left door hangers at the two customer locations where affirmation of notification was not received.

## Table 6-1
Table 6-1: Local and State Public Safety Partner Engagement
Entity Name | PSP Type | Organization | Title | HFTD Tier | Date Contacted | Time Contacted
Joe Walton, Jed Gaines, Tim Richter, Arnold Ramirez | CAL FIRE | CAL FIRE | LMU Division Chief, AEU Division Chief, NEU Division Chief, BDU Division Chief | 2 | 2026-09-09 | 5:22
Isaac Walden | Emergency Response Providers | US Forest Service | Division Chief | 2 | 2026-09-09 | 5:22
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-09 | 7:15
Group | Emergency Response Providers | NV Energy / TPUD | Group | 2 | 2026-09-09 | 8:30
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-09 | 12:04
Minda Moty | Emergency Response Providers | FireDAWG, Inc. | Chief Financial Officer | 2 | 2026-09-09 | 12:30
Ken Quiner | Emergency Response Providers | Washoe Tribe | Tribal Emergency Manager | 2 | 2026-09-09 | 12:40
Mike Curti | Emergency Response Providers | Antelope Valley Fire Protection District | Fire Chief | 2 | 2026-09-09 | 13:01
Joe Walton, Jed Gaines, Tim Richter, Arnold Ramirez | CAL FIRE | CAL FIRE | LMU Division Chief, AEU Division Chief, NEU Division Chief, BDU Division Chief | 2 | 2026-09-09 | 13:24
Jeff Menasco | Emergency Response Providers | Truckee Airport | CRC Contact | 2 | 2026-09-09 | 13:30
Jeff Menasco | Emergency Response Providers | Truckee Tahoe Airport | CRC Contact | 2 | 2026-09-09 | 16:40
James Blatter | Emergency Response Providers | Tahoe Truckee Airport | Emergency Services Manager | 2 | 2026-09-09 | 17:10
Rob Etnyre | Emergency Response Providers | Truckee Tahoe Airport | General Manager | 2 | 2026-09-09 | 17:30
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-09 | 18:00
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-09 | 18:47
Jamie Shilz, Lori McGee | Emergency Response Providers | Sierra County Health and Human Services | Social Services Manager, Interim Director of Social Services | 2 | 2026-09-09 | 18:47
CalOES | CalOES | CalOES | N/A |  | 2026-09-09 | 18:54
Andrew Nickens | Emergency Response Providers | Assemblymember Hadwick’s Office | Legislative Assistant | 2 | 2026-09-09 | 18:57
Erin Dobyns | Emergency Response Providers | Alpine County Health and Human Services | Deputy Director of Health and Human Services | 2 | 2026-09-09 | 19:00
Teri Gilbert-Eisenga | Emergency Response Providers | Washoe Tribe | Executive Director of Tribal Health Center | 2 | 2026-09-09 | 19:00
Cathy Young | Emergency Response Providers | Mono County Health and Human Services | Supervising Staff Analyst | 2 | 2026-09-09 | 19:00
Bri Chappell-McGovern | Emergency Response Providers | Mono County Public Health | Emergency Preparedness Coordinator | 2 | 2026-09-09 | 19:00
William Wood | Emergency Response Providers | Rolling Start Inc. ILC | Integrated Programs Manager | 2 | 2026-09-09 | 19:00
Jarrett Chytka | Emergency Response Providers | Eastern Sierra Transit Authority | Transportation Contact | 2 | 2026-09-09 | 19:00
David Griffith | Emergency Response Providers | Alpine County | Alpine County Supervisor | 2 | 2026-09-09 | 19:00
Bill Roderick | Emergency Response Providers | Alpine County Unified School District | Superintendent | 2 | 2026-09-09 | 19:00
Sam Booth | Emergency Response Providers | Alpine County | County Executive Officer | 2 | 2026-09-09 | 19:00
JT Chevaliar | Emergency Response Providers | Alpine County | PIO, Economic Development Director | 2 | 2026-09-09 | 19:00
John Peters | Emergency Response Providers | Mono County | Mono County Supervisor | 2 | 2026-09-09 | 19:00
Shane Gleason | Emergency Response Providers | Eastern Sierra Unified School District | Facilities Director | 2 | 2026-09-09 | 19:00
Valerie Spake | Emergency Response Providers | Senator Alvarado-Gil’s Office | District Representative | 2 | 2026-09-09 | 19:01
Ian Coolbear | Emergency Response Providers | Assemblymember Tangipa’s Office | Chief of Staff | 2 | 2026-09-09 | 19:01
Erik Brahms | Emergency Response Providers | Senator Dahle’s Office | Chief of Staff | 2 | 2026-09-09 | 19:02
N/A | Emergency Response Providers | Mono Medical Health Operational Area Coordinator | Duty Supervisor | 2 | 2026-09-09 | 19:04
Sandra Moberly | Emergency Response Providers | Mono County | County Administrative Officer | 2 | 2026-09-09 | 19:13
Hardy Bullock | Emergency Response Providers | Nevada County Supervisor | Nevada County Supervisor | 2 | 2026-09-09 | 19:15
Lila Heuer | Emergency Response Providers | Sierra County Supervisor | Sierra County Supervisor | 2 | 2026-09-09 | 19:15
Ken Quiner | Emergency Response Providers | Washoe Tribe | Tribal Emergency Manager | 2 | 2026-09-09 | 19:15
CPUC | CPUC | CPUC | N/A |  | 2026-09-09 | 20:07
CalOES | CalOES | CalOES | N/A |  | 2026-09-10 | 6:55
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-10 | 8:00
JT Chevallier | Emergency Response Providers | Alpine County | Public Information Officer | 2 | 2026-09-10 | 8:15
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-10 | 9:00
Rob Etnyre | Emergency Response Providers | Truckee Tahoe Airport | General Manager | 2 | 2026-09-10 | 9:30
CPUC | CPUC | CPUC | N/A |  | 2026-09-10 | 9:40
Lindsay Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-10 | 9:45
Greg Almos | Emergency Response Providers | El Dorado County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 10:00
Bri Chappell-McGovern | Emergency Response Providers | Mono County Public Health | Emergency Preparedness Coordinator | 2 | 2026-09-10 | 10:30
Jarrett Chytka | Emergency Response Providers | Eastern Sierra Transit Authority | Transportation Contact | 2 | 2026-09-10 | 10:40
Yinnon Hiller | Emergency Response Providers | FREED ILC | Emergency Preparedness Coordinator | 2 | 2026-09-10 | 11:00
David Atkinson | Emergency Response Providers | Placer County OES | Assistant Director, OES | 2 | 2026-09-10 | 11:15
Magdalene DeBerg | Emergency Response Providers | Senior Citizens of Sierra County | Executive Director | 2 | 2026-09-10 | 11:30
Cory Baird | Emergency Response Providers | Washoe Tribe | Tribal Health Center Staff | 2 | 2026-09-10 | 11:40
Greg Almos | Emergency Response Providers | El Dorado County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 11:45
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 12:50
James Zandastra | Emergency Response Providers | US Congressman Kiley’s Office | Legislative Director | 2 | 2026-09-10 | 13:17
Trent Green | Emergency Response Providers | Alpine County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 14:30
CalOES | CalOES | CalOES | N/A |  | 2026-09-10 | 14:57
CalOES / CPUC | CalOES / Commission | CalOES / CPUC | Group |  | 2026-09-10 | 16:00
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 16:00
Greg Almos | Emergency Response Providers | El Dorado County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 17:15
Andrew Nickens | Emergency Response Providers | Assemblymember Hadwick’s Office | Legislative Assistant | 2 | 2026-09-10 | 18:12
Valerie Spake | Emergency Response Providers | Senator Alvarado-Gil’s Office | District Representative | 2 | 2026-09-10 | 18:15
Ian Coolbear | Emergency Response Providers | Assemblymember Tangipa’s Office | Chief of Staff | 2 | 2026-09-10 | 18:18
Erik Brahms | Emergency Response Providers | Senator Dahle’s Office | Chief of Staff | 2 | 2026-09-10 | 18:20
James Zandastra | Emergency Response Providers | US Congressman Kiley’s Office | Legislative Director | 2 | 2026-09-10 | 18:22
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-10 | 18:24
Jamie Shilz, Lori McGee | Emergency Response Providers | Sierra County Health and Human Services | Social Services Manager, Interim Director of Social Services | 2 | 2026-09-10 | 18:24
Erin Dobyns | Emergency Response Providers | Alpine County Health and Human Services | Deputy Director of Health and Human Services | 2 | 2026-09-10 | 18:35
Teri Gilbert-Eisenga, Cory Baird | Emergency Response Providers | Washoe Tribe | Executive Director of Tribal Health Center, Tribal Health Center Staff | 2 | 2026-09-10 | 18:35
Cathy Young | Emergency Response Providers | Mono County Health and Human Services | Supervising Staff Analyst | 2 | 2026-09-10 | 18:35
Bri Chappell-McGovern | Emergency Response Providers | Mono County Public Health | Emergency Preparedness Coordinator | 2 | 2026-09-10 | 18:35
William Wood | Emergency Response Providers | Rolling Start Inc. ILC | Integrated Programs Manager | 2 | 2026-09-10 | 18:35
Jarrett Chytka | Emergency Response Providers | Eastern Sierra Transit Authority | Transportation Contact | 2 | 2026-09-10 | 18:35
N/A | Emergency Response Providers | Mono Medical Health Operational Area Coordinator | Duty Supervisor | 2 | 2026-09-10 | 18:35
Yinnon Hiller | Emergency Response Providers | FREED ILC | Emergency Preparedness Coordinator | 2 | 2026-09-10 | 18:35
David Griffith | Emergency Response Providers | Alpine County | Alpine County Supervisor | 2 | 2026-09-10 | 20:35
Ethan Gray | Emergency Response Providers | Alpine County | Deputy Director Community Development | 2 | 2026-09-10 | 20:35
JT Chevalier | Emergency Response Providers | Alpine County | Alpine County PIO | 2 | 2026-09-10 | 20:35
Paul Washam | Emergency Response Providers | Eastern Alpine Fire and Rescue | EMS/Fire Administrator | 2 | 2026-09-10 | 20:35
Rick Johnson | Emergency Response Providers | Alpine County | HHS | 2 | 2026-09-10 | 20:35
Sam Booth | Emergency Response Providers | Alpine County | Alpine County Executive Officer | 2 | 2026-09-10 | 20:35
Bill Roderick | Emergency Response Providers | Alpine County School District | Interim Superintendent | 2 | 2026-09-10 | 20:35
Eric Forsman | Emergency Response Providers | Alpine County School District | Superintendent of Schools | 2 | 2026-09-10 | 20:35
Taylor Green | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-10 | 20:35
Tom Minder | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-10 | 20:35
Heidi Torix | Emergency Response Providers | Eastern Sierra Unified School District | Superintendent | 2 | 2026-09-10 | 20:35
Shane Gleason | Emergency Response Providers | Eastern Sierra Unified School District | Director of Facilities & Maintenance | 2 | 2026-09-10 | 20:35
Alex Keeble-Toll | Emergency Response Providers | Nevada County | Office of Emergency Services | 2 | 2026-09-10 | 20:35
John Peters | Emergency Response Providers | Mono County | Mono County Supervisor | 2 | 2026-09-10 | 20:35
Sandra Moberly | Emergency Response Providers | Mono County | Mono County Administrative Officer | 2 | 2026-09-10 | 20:35
Hardy Bullock | Emergency Response Providers | Nevada County Supervisor | Nevada County Supervisor | 2 | 2026-09-10 | 20:35
Lila Heuer | Emergency Response Providers | Sierra County Supervisor | Sierra County Supervisor | 2 | 2026-09-10 | 20:35
Geoff Ellis | Emergency Response Providers | Washoe Tribe | Woodfords Community Council Chairman | 2 | 2026-09-10 | 20:35
Steven Cruz | Emergency Response Providers | Washoe Tribe | Washoe Tribal Council Representative | 2 | 2026-09-10 | 20:35
Ken Quiner | Emergency Response Providers | Washoe Tribe | Emergency Manager | 2 | 2026-09-10 | 20:35
Angela Slais | Emergency Response Providers | Alpine County | HHS Director | 2 | 2026-09-10 | 20:35
CalOES | CalOES | CalOES | N/A |  | 2026-09-11 | 6:55
Alex Hoon | Emergency Response Providers | NV Energy | Principal Meteorologist | 2 | 2026-09-11 | 7:20
Joe Walton, Jed Gaines, Tim Richter, Arnold Ramirez | CAL FIRE | CAL FIRE | LMU Division Chief, AEU Division Chief, NEU Division Chief, BDU Division Chief | 2 | 2026-09-11 | 9:00
CPUC | CPUC | CPUC | N/A |  | 2026-09-11 | 9:06
Lindsey Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-11 | 9:30
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-11 | 9:45
Cathy Young | Emergency Response Providers | Mono County Health and Human Services | Supervising Staff Analyst | 2 | 2026-09-11 | 10:00
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-11 | 10:15
Lindsey Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-11 | 10:40
David Atkinson | Emergency Response Providers | Placer County OES | Assistant Director, OES | 2 | 2026-09-11 | 11:00
Lindsey Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-11 | 11:45
Isaac Walden | Emergency Response Providers | US Forest Service | Division Chief | 2 | 2026-09-11 | 12:15
Group | Emergency Response Providers | NV Energy | Tactical Coordination | 2 | 2026-09-11 | 13:30
CalOES | CalOES | CalOES | N/A |  | 2026-09-11 | 14:14
Lindsey Bartlett | Emergency Response Providers | NV Energy | Sr. Emergency Management Administrator | 2 | 2026-09-11 | 15:00
CPUC | CPUC | CPUC | N/A |  | 2026-09-11 | 15:59
John Gulserian | Emergency Response Providers | Nevada County | Emergency Services Officer | 2 | 2026-09-11 | 15:59
Steven Poncelet | Emergency Response Providers | Truckee Donner PUD | Public Information Officer | 2 | 2026-09-11 | 15:59
Mike Fisher | Emergency Response Providers | Sierra County | OES Director | 2 | 2026-09-11 | 15:59
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-11 | 15:59
Lori McGee | Emergency Response Providers | Sierra County Health and Human Services | Interim Director of Social Services | 2 | 2026-09-11 | 15:59
Terry Hughes | Emergency Response Providers | Alpine County | Fire Chief | 2 | 2026-09-11 | 15:59
Ken Quiner | Emergency Response Providers | Washoe Tribe | Emergency Manager | 2 | 2026-09-11 | 15:59
Tim Streeper | Emergency Response Providers | Alpine County | Emergency Preparedness | 2 | 2026-09-11 | 15:59
Paul Washam | Emergency Response Providers | Alpine County | Sheriff | 2 | 2026-09-11 | 15:59
Angela Slais | Emergency Response Providers | Alpine County | HHS Deputy Director | 2 | 2026-09-11 | 15:59
John Baker | Emergency Response Providers | Alpine County | Fire Chief | 2 | 2026-09-11 | 15:59
N/A | CalOES / Commission | CalOES / CPUC | Group | 2 | 2026-09-11 | 16:00
Lori Pini | Emergency Response Providers | Plumas County OES | Emergency Manager | 2 | 2026-09-11 | 16:40
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-11 | 17:03
Jamie Shilz, Lori McGee | Emergency Response Providers | Sierra County Health and Human Services | Social Services Manager, Interim Director of Social Services | 2 | 2026-09-11 | 17:03
Yinnon Hiller | Emergency Response Providers | FREED ILC | Emergency Preparedness Coordinator | 2 | 2026-09-11 | 17:03
Andrew Nickens | Emergency Response Providers | Assemblymember Hadwick’s Office | Legislative Assistant | 2 | 2026-09-11 | 17:04
Valerie Spake | Emergency Response Providers | Senator Alvarado-Gil’s Office | District Representative | 2 | 2026-09-11 | 17:06
Ian Coolbear | Emergency Response Providers | Assemblymember Tangipa’s Office | Chief of Staff | 2 | 2026-09-11 | 17:07
Erin Dobyns | Emergency Response Providers | Alpine County Health and Human Services | Deputy Director of Health and Human Services | 2 | 2026-09-11 | 17:08
Teri Gilbert-Eisenga, Cory Baird | Emergency Response Providers | Washoe Tribe | Executive Director of Tribal Health Center, Tribal Health Center Staff | 2 | 2026-09-11 | 17:08
Erik Brahms | Emergency Response Providers | Senator Dahle’s Office | Chief of Staff |  | 2026-09-11 | 17:09
Cathy Young | Emergency Response Providers | Mono County Health and Human Services | Supervising Staff Analyst | 2 | 2026-09-11 | 17:10
Bri Chappell-McGovern | Emergency Response Providers | Mono County Public Health | Emergency Preparedness Coordinator | 2 | 2026-09-11 | 17:10
William Wood | Emergency Response Providers | Rolling Start Inc. ILC | Integrated Programs Manager | 2 | 2026-09-11 | 17:10
Jarrett Chytka | Emergency Response Providers | Eastern Sierra Transit Authority | Transportation Contact | 2 | 2026-09-11 | 17:10
N/A | Emergency Response Providers | Mono Medical Health Operational Area Coordinator | Duty Supervisor | 2 | 2026-09-11 | 17:10
James Zandastra | Emergency Response Providers | US Congressman Kiley’s Office | Legislative Director | 2 | 2026-09-11 | 17:10
David Griffith | Emergency Response Providers | Alpine County | Alpine County Supervisor | 2 | 2026-09-11 | 17:34
Ethan Gray | Emergency Response Providers | Alpine County | Deputy Director Community Development | 2 | 2026-09-11 | 17:34
JT Chevalier | Emergency Response Providers | Alpine County | Alpine County PIO | 2 | 2026-09-11 | 17:34
Paul Washam | Emergency Response Providers | Eastern Alpine Fire and Rescue | EMS/Fire Administrator | 2 | 2026-09-11 | 17:34
Rick Johnson | Emergency Response Providers | Alpine County | HHS | 2 | 2026-09-11 | 17:34
Sam Booth | Emergency Response Providers | Alpine County | Alpine County Executive Officer | 2 | 2026-09-11 | 17:34
Bill Roderick | Emergency Response Providers | Alpine County School District | Interim Superintendent | 2 | 2026-09-11 | 17:34
Eric Forsman | Emergency Response Providers | Alpine County School District | Superintendent of Schools | 2 | 2026-09-11 | 17:34
Taylor Green | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-11 | 17:34
Tom Minder | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-11 | 17:34
Heidi Torix | Emergency Response Providers | Eastern Sierra Unified School District | Superintendent | 2 | 2026-09-11 | 17:34
Shane Gleason | Emergency Response Providers | Eastern Sierra Unified School District | Director of Facilities & Maintenance | 2 | 2026-09-11 | 17:34
Alex Keeble-Toll | Emergency Response Providers | Nevada County | Office of Emergency Services | 2 | 2026-09-11 | 17:34
John Peters | Emergency Response Providers | Mono County | Mono County Supervisor | 2 | 2026-09-11 | 17:34
Sandra Moberly | Emergency Response Providers | Mono County | Mono County Administrative Officer | 2 | 2026-09-11 | 17:34
Hardy Bullock | Emergency Response Providers | Nevada County | Nevada County Supervisor | 2 | 2026-09-11 | 17:34
Lila Heuer | Emergency Response Providers | Sierra County | Sierra County Supervisor | 2 | 2026-09-11 | 17:34
Geoff Ellis | Emergency Response Providers | Washoe Tribe | Woodfords Community Council Chairman | 2 | 2026-09-11 | 17:34
Steven Cruz | Emergency Response Providers | Washoe Tribe | Washoe Tribal Council Representative | 2 | 2026-09-11 | 17:34
Ken Quiner | Emergency Response Providers | Washoe Tribe | Emergency Manager | 2 | 2026-09-11 | 17:34
Angela Slais | Emergency Response Providers | Alpine County | HHS Director | 2 | 2026-09-11 | 17:34
CalOES | CalOES | CalOES | N/A |  | 2026-09-12 | 7:00
CPUC | CPUC | CPUC | N/A |  | 2026-09-12 | 7:38
Andrew Nickens | Emergency Response Providers | Assemblymember Hadwick’s Office | Legislative Assistant | 2 | 2026-09-12 | 7:38
Valerie Spake | Emergency Response Providers | Senator Alvarado-Gil’s Office | District Representative | 2 | 2026-09-12 | 7:39
John Gulserian | Emergency Response Providers | Nevada County | Emergency Services Officer | 2 | 2026-09-12 | 7:39
Steven Poncelet | Emergency Response Providers | Truckee Donner PUD | Public Information Officer | 2 | 2026-09-12 | 7:39
Mike Fisher | Emergency Response Providers | Sierra County | OES Director | 2 | 2026-09-12 | 7:39
LeTina Vanetti | Emergency Response Providers | Sierra County OES | Emergency Services Coordinator | 2 | 2026-09-12 | 7:39
Lori McGee | Emergency Response Providers | Sierra County Health and Human Services | Interim Director of Social Services | 2 | 2026-09-12 | 7:39
Terry Hughes | Emergency Response Providers | Alpine County | Fire Chief | 2 | 2026-09-12 | 7:39
Ken Quiner | Emergency Response Providers | Washoe Tribe | Emergency Manager | 2 | 2026-09-12 | 7:39
Tim Streeper | Emergency Response Providers | Alpine County | Emergency Preparedness | 2 | 2026-09-12 | 7:39
Paul Washam | Emergency Response Providers | Alpine County | Sheriff | 2 | 2026-09-12 | 7:39
Angela Slais | Emergency Response Providers | Alpine County | HHS Deputy Director | 2 | 2026-09-12 | 7:39
John Baker | Emergency Response Providers | Alpine County | Fire Chief | 2 | 2026-09-12 | 7:39
Ian Coolbear | Emergency Response Providers | Assemblymember Tangipa’s Office | Chief of Staff | 2 | 2026-09-12 | 7:40
Erik Brahms | Emergency Response Providers | Senator Dahle’s Office | Chief of Staff | 2 | 2026-09-12 | 7:41
James Zandastra | Emergency Response Providers | US Congressman Kiley’s Office | Legislative Director | 2 | 2026-09-12 | 7:42
Rich Nalder | Emergency Response Providers | Mono County | Alpine Valley Fire Chief | 2 | 2026-09-12 | 7:58
Bryan Bullock | Emergency Response Providers | Mono County | EMS Chief | 2 | 2026-09-12 | 7:58
Ingrid Braun | Emergency Response Providers | Mono County | Sheriff | 2 | 2026-09-12 | 7:58
David Griffith | Emergency Response Providers | Alpine County | Alpine County Supervisor | 2 | 2026-09-12 | 7:39
Ethan Gray | Emergency Response Providers | Alpine County | Deputy Director Community Development | 2 | 2026-09-12 | 7:39
JT Chevalier | Emergency Response Providers | Alpine County | Alpine County PIO | 2 | 2026-09-12 | 7:39
Paul Washam | Emergency Response Providers | Eastern Alpine Fire and Rescue | EMS/Fire Administrator | 2 | 2026-09-12 | 7:39
Rick Johnson | Emergency Response Providers | Alpine County | HHS | 2 | 2026-09-12 | 7:39
Sam Booth | Emergency Response Providers | Alpine County | Alpine County Executive Officer | 2 | 2026-09-12 | 7:39
Bill Roderick | Emergency Response Providers | Alpine County School District | Interim Superintendent | 2 | 2026-09-12 | 7:39
Eric Forsman | Emergency Response Providers | Alpine County School District | Superintendent of Schools | 2 | 2026-09-12 | 7:39
Taylor Green | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-12 | 7:39
Tom Minder | Emergency Response Providers | Alpine County | Sheriff-Coroner | 2 | 2026-09-12 | 7:39
Heidi Torix | Emergency Response Providers | Eastern Sierra Unified School District | Superintendent | 2 | 2026-09-12 | 7:39
Shane Gleason | Emergency Response Providers | Eastern Sierra Unified School District | Director of Facilities & Maintenance | 2 | 2026-09-12 | 7:39
John Peters | Emergency Response Providers | Mono County | Mono County Supervisor | 2 | 2026-09-12 | 7:39
Sandra Moberly | Emergency Response Providers | Mono County | Mono County Administrative Officer | 2 | 2026-09-12 | 7:39
Geoff Ellis | Emergency Response Providers | Washoe Tribe | Woodfords Community Council Chairman | 2 | 2026-09-12 | 7:39
Steven Cruz | Emergency Response Providers | Washoe Tribe | Washoe Tribal Council Representative | 2 | 2026-09-12 | 7:39
Ken Quiner | Emergency Response Providers | Washoe Tribe | Emergency Manager | 2 | 2026-09-12 | 7:39
Angela Slais | Emergency Response Providers | Alpine County | HHS Director | 2 | 2026-09-12 | 7:39
Cathy Young | Emergency Response Providers | Mono County Health and Human Services | Supervising Staff Analyst | 2 | 2026-09-12 | 8:22
Bri Chappell-McGovern | Emergency Response Providers | Mono County Public Health | Emergency Preparedness Coordinator | 2 | 2026-09-12 | 8:22
William Wood | Emergency Response Providers | Rolling Start Inc. ILC | Integrated Programs Manager | 2 | 2026-09-12 | 8:22
Jarrett Chytka | Emergency Response Providers | Eastern Sierra Transit Authority | Transportation Contact | 2 | 2026-09-12 | 8:22
N/A | Emergency Response Providers | Mono Medical Health Operational Area Coordinator | Duty Supervisor | 2 | 2026-09-12 | 8:22
Erin Dobyns | Emergency Response Providers | Alpine County Health and Human Services | Deputy Director of Health and Human Services | 2 | 2026-09-12 | 8:24
Teri Gilbert-Eisenga, Cory Baird | Emergency Response Providers | Washoe Tribe | Executive Director of Tribal Health Center, Tribal Health Center Staff | 2 | 2026-09-12 | 8:24

## Table 7-1
Table 7-1: Count and Nature of Complaints Received
Nature of Complaints | Complaint Format | Number of Complaints
PSPS Criteria and Decision Making | Email | 1
PSPS Criteria and Decision Making | Verbal | 1
System Infrastructure | Social Media | 4
Unrelated Billing Issues | Social Media | 2

## Table 9-1
Table 9-1: Community Resource Centers
County | Site Name | Address | Operating Hours | Attendance | Site Type | Services and Amenities Provided
Alpine | Woodfords Community Center | 25 Washo Blvd, Markleeville, CA 96120 | 11/05/2025, | N/A | CRC - Building | Small portable device charging (for cell phone, laptop, and small medical devices), Wi-Fi, chairs, seasonal cooling, and heating, PSPS information, snacks, water, ice, ADA compliant restrooms.
8a.m.- 5p.m.
Mono | Walker Community Center | 442 Mule Deer Drive, Walker, CA 93517 | 11/05/2025, | N/A | CRC - Building | Small portable device charging (for cell phone, laptop, and small medical devices), Wi-Fi, chairs, seasonal cooling, and heating, PSPS information, snacks, water, ice, ADA compliant restrooms.
8a.m.-5p.m..
Nevada | Truckee Tahoe Airport | 10356 Truckee Airport Road, Truckee, CA 96161 | 11/05/2025, 8a.m.- 5p.m. | N/A | CRC - Building | Small portable device charging (for cell phone, laptop, and small medical devices), Wi-Fi, chairs, seasonal cooling, and heating, PSPS information, snacks, water, ice, ADA compliant restrooms.

## Table 10-1
Table 10-1: Grid Hardening Activities Completed to Mitigate PSPS Impact
Circuit | Poles Installed | ELF Fuses Installed | Overhead Primary Conductor Replaced (ft.) | Overhead Secondary Conductor Replaced (ft.) | Composite Crossarms Installed | Transformers Installed
MULLER1296 | 268 | 48 | 61818 | 5828 | 328 | 60
TPZ1202 | 165 | 96 | 14108 | 1222 | 120 | 31
CAL2501 | 8 | 29 | 0 | 0 | 0 | 0
WSH201 | 0 | 10 | 0 | 230 | 2 | 1

## Table 11-1
Table 11-1: Lessons Learned
Issue | Discussion | Resolution
PSPS Event Tracker | Liberty identified improvements to its in-event PSPS event tracker. | · Redesign the partner tab to capture regulatory fields and support transfer into post-event reporting.
· Protect drop-down source cells.
Medical Baseline Customer (“MBL”) Post-Cancellation Notification | Liberty attempted to receive positive affirmation of its event cancellation notification to MBL customers; subsequent to previous positive affirmation attempts and door hangers regarding the potential for a PSPS event. | Add positive affirmation attempts following-up on cancellation notification for MBL customers to the PSPS Playbook and notification checklist.
Community Resource Centers (“CRCs”) | CRC lead protocol, CRC staffing, and CRC coverage. | · Designate the CRC lead and define facility, vendor, staffing, partner, and stand-down contacts.
· Expand the trained staffing roster and provide role-based orientation.
· Assess Verdi, Kings Beach, and Turtle Rock CRC options.
Virtual Hub and Tool Training | Liberty utilized a Microsoft Teams virtual hub for its IMT. | Provide off-season role-based training on Hub, channels, meetings, tracker, storage, and archiving.
Regulatory Mailbox | Define when Liberty’s Regulatory team is copied on notifications; intended to streamline post-event reporting. | Consider the use of a Regulatory PSPS email to utilize during PSPS events.
Complaint Tracking | Complaint tab in the PSPS event tab was not updated in real-time; follow-up required for post-event reporting. | Clarify timing, ownership, and post-event use of complaint data.